## Sheet1
Kế hoạch bảo dưỡng định kỳ
Tên thiết bị | Mã thiết bị | Số lượng | Mức độ ưu tiên | W | 2W | 3W | M | 2M | Q | 2Q | Y | Ngày bắt đầu chu kỳ1 | Ngày bắt đầu chu kỳ2 | Ngày bắt đầu chu kỳ3
Air-comp roompressor | CO-M01 | 1 | 1
Air-comp roompressor | CO-M02 | 1 | 1
Air-comp roompressor | CO-M03 | 1 | 1
Air-comp roompressor | CO-M04 | 1 | 1
Micro water filter | CO-WF01 | 1 | 1
Centre controller - ES6 | CO-ES601 | 1 | 1
Air Tank | CO-AT01 | 1 | 1
Air Tank | CO-AT02 | 1 | 1
Air-comp roompressor | CO-M05 | 1 | 1
Air-comp roompressor | CO-M06 | 1 | 1
Air-comp roompressor | CO-M07 | 1 | 1
Air-comp roompressor | CO-M08 | 1 | 1
Air-comp roompressor | CO-M11 | 1 | 1
Micro water filter | CO-WF02 | 1 | 1
Micro water filter | CO-WF03 | 1 | 1
Centre controller - ES6 | CO-ES602 |  | 1
Air Tank | CO-AT03 | 1 | 1
Air-comp roompressor | CO-M09 | 1 | 1
Air-comp roompressor | CO-M10 | 1 | 1
Air Tank | CO-AT04 | 1 | 1
VRV Air Conditioner | AC1-VRV1 | 1 | 1
VRV Air Conditioner | AC1-VRV2 | 1 | 1
VRV Air Conditioner | AC1-VRV3 | 1 | 1
VRV Air Conditioner | AC1-VRV4 | 1 | 1
VRV Air Conditioner | AC1-VRV5 | 1 | 1
VRV Air Conditioner | AC1-VRV6 | 1 | 1
VRV Air Conditioner | AC1-VRV7 | 1 | 1
VRV Air Conditioner | AC1-VRV8 | 1 | 1
VRV Air Conditioner | AC1-VRV9 | 1 | 1
VRV Air Conditioner | AC1-VRV10 | 1 | 1
VRV Air Conditioner | AC1-VRV11 | 1 | 1
VRV Air Conditioner | AC1-VRV12 | 1 | 1
VRV Air Conditioner | AC1-VRV13 | 1 | 1
Heat wheel | AC-HW01 | 1 | 2
Heat wheel exhaust fan | AC-EX01 | 1 | 2
Air supply/exhaust fan | AC-EX02 | 1 | 2
AC controller BMS Panel | AC-DDC01 | 1 | 1
Cooling tower | AC1-CTVRV4 | 1 | 1
Cooling tower | AC1-CTVRV2 | 1 | 1
Cooling tower | AC1-CTVRV6 | 1 | 1
Cooling tower | AC1-CTVRV8 | 1 | 1
Cooling tower | AC1-CTVRV10 | 1 | 1
VRV Air Conditioner | AC2-VRV5 | 1 | 1
VRV Air Conditioner | AC2-VRV6 | 1 | 1
VRV Air Conditioner | AC2-VRV7 | 1 | 1
VRV Air Conditioner | AC2-VRV8 | 1 | 1
VRV Air Conditioner | AC2-VRV9 | 1 | 1
VRV Air Conditioner | AC2-VRV10 | 1 | 1
VRV Air Conditioner | AC2-VRV11 | 1 | 1
VRV Air Conditioner | AC2-VRV12 | 1 | 1
A/C Control Panel | AC2-DDC01 | 1 | 1
VRV Air Condition 13 | AC2-VRV13 | 1 | 1
VRV Air Condition 14 | AC2-VRV14 | 1 | 1
VRV Air Condition 15 | AC2-VRV15 | 1 | 1
VRV Air Condition 16 | AC2-VRV16 | 1 | 1
VRV Air Condition 17 | AC2-VRV17 | 1 | 1
VRV Air Condition 18 | AC2-VRV18 | 1 | 1
VRV Air Condition 19 | AC2-VRV19 | 1 | 1
VRV Air Condition 20 | AC2-VRV20 | 1 | 1
Control Panel ACu13-14 | AC2-DDC02 | 1 | 1
Control Panel ACu15-16 | AC2-DDC03 | 1 | 1
Control Panel ACu17-18 | AC2-DDC04 | 1 | 1
Control Panel ACu19-20 | AC2-DDC05 | 1 | 1
Split AC | AC1-SA01 | 1 | 1
Split AC | AC1-SA02 | 1 | 1
Split AC | AC1-SA03 | 1 | 1
Split AC | AC1-SA04 | 1 | 1
Split AC | AC1-SA05 | 1 | 1
Split AC | AC1-SA06 | 1 | 1
Split AC | AC1-SA07 | 1 | 1
Split AC | AC1-SA08 | 1 | 1
Split AC | AC1-SA09 | 1 | 1
Split AC -Plans Manager room | AC1-SA30 | 1 | 1
VRV Air Condition 14 | AC2-VRV14 | 1 | 1
Air con-Mezza n0:01 | AC1-SA10 | 1 | 1
Air con-Mezza n0:02 | AC1-SA11 | 1 | 1
Air con-Mezza n0:03 | AC1-SA12 | 1 | 1
Air con-Mezza n0:04 | AC1-SA13 | 1 | 1
VRV Air Condition 15 | AC1-VRV15 | 1 | 1
VRV Air Condition 16 | AC1-VRV16 | 1 | 1
Air con-IT room N0:01 | AC1-SA14 | 1 | 1
Air con-IT room N0:02 | AC1-SA15 | 1 | 1
Air con- EC | AC1-SA16 | 1 | 1
Air con- Champion room | AC1-SA17 | 1 | 1
Air Con- pad 1 | AC1-SA18 | 1 | 1
Air Con- pad 2 | AC1-SA19 | 1 | 1
Air Con- pad 3 | AC1-SA20 | 1 | 1
Air Con - Lab room | AC1-SA21 | 1 | 1
Air con-Phubai1- Clinic: 01 | AC1-SA22 | 1 | 1
Air con-Phubai1- Clinic: 02 | AC1-SA23 | 1 | 1
Air con-Phubai1- ware house | AC1-SA24 | 1 | 1
Air Con- Inovation 01 | AC1-SA25 | 1 | 1
Air Con- Inovation 02 | AC1-SA26 | 1 | 1
Air Con- Production office N0:01 | AC1-SA27 | 1 | 1
Air Con- Production office N0:02 | AC1-SA28 | 1 | 1
Air Con- Production office N0:03 | AC1-SA29 | 1 | 1
Air Con- Production office N0:04 | AC1-SA30 | 1 | 1
VRV Air Condition | AC2-VRV21 | 1 | 1
Air Condition ODD ROOM 2 | AC2-VRV22 | 1 | 1
Air Condition NURSE ROOM 3 | AC2-SA1 | 1 | 1
Air Condition FM ROOM ROOM ( new) | AC2-SA2 | 1 | 1
Air Condition Warehouse 01 | AC2-SA3 | 1 | 1
Air Condition Warehouse 02 | AC2-SA4 | 1 | 1
Air Condition Bali room | AC2-SA5 | 1 | 1
Air Condition Ritmo room 01 | AC2-SA6 | 1 | 1
Air Condition Ritmo room 02 | AC2-SA7 | 1 | 1
Air Condition Mec 2 | AC2-SA8 | 1 | 1
Air Condition Inovation Room | AC2-SA9 | 1 | 1
Air Condition FM ROOM 02 | AC2-SA10 | 1 | 1
Air Condition DBA Room | AC2-SA12 | 1 | 1
Air Condition IT Room | AC3-SA1 | 1 | 1
Air Condition Office Room 01 | AC3-SA2 | 1 | 1
Air Condition Office Room 02 | AC3-SA3 | 1 | 1
Air Condition Office Room 03 | AC3-SA4 | 1 | 1
Air Condition Office Room 04 | AC3-SA5 | 1 | 1
Air Condition Maker Room 01 | AC3-SA6 | 1 | 1
Air Condition Maker Room 02 | AC3-SA7 | 1 | 1
Air Condition Nurse Room | AC3-SA8 | 1 | 1
Air Condition Mec Room | AC3-SA9 | 1 | 1
VRV Air Condition 01 | AC3-VRV01 | 1 | 1
VRV Air Condition 02 | AC3-VRV02 | 1 | 1
VRV Air Condition 03 | AC3-VRV03 | 1 | 1
VRV Air Condition 04 | AC3-VRV04 | 1 | 1
VRV Air Condition 05 | AC3-VRV05 | 1 | 1
Air Condition WH office Room | AC3-SA10 | 1 | 1
Air Condition WH office Room | AC3-SA11 | 1 | 1
Air Condition Pantry office Room | AC3-SA12 | 1 | 1
Air Condition Canteen PB3 | AC3-SA13 | 1 | 1
Air Condition Canteen PB3 | AC3-SA14 | 1 | 1
Air Con- employ corner 01 | AC1-SA15 | 1 | 1
Air Con- employ corner 02 | AC1-SA16 | 1 | 1
Air Con- employ corner 03 | AC1-SA17 | 1 | 1
Air Con- employ corner 04 | AC1-SA18 | 1 | 1
CAPACITORS CABINET | LE-CA01 | 1 | 1
CAPACITORS CABINET | LE-CA02 | 1 | 1
Air Circuit Breaker ACB-M | LE-ACBM1 | 1 | 1
Air Circuit Breaker ACB-G | LE-ACBG1 | 1 | 1
MSB-SUB-1 Panel | LE-MSB1 | 1 | 1
Air Circuit Breaker DB. SUB | LE-MSB.DBSUB | 1 | 1
Air Circuit Breaker DB.AC1 | LE-MSB.DBAC1 | 1 | 1
Air Circuit Breaker DB.AC2 | LE-MSB.DBAC2 | 1 | 1
Air Circuit Breaker DB. BV1 | LE-MSB.DBBV1 | 1 | 1
Air Circuit Breaker DB. BV2 | LE-MSB.DBBV2 | 1 | 1
Air Circuit BreakerDBL-ZONE 1 | LE-MSB.DBLZ1 | 1 | 1
Air Circuit Breaker DBP-ZONE 1 | LE-MSB.DBPZ1 | 1 | 1
Air Circuit Breaker DBL-ZONE 2-1 | LE-MSB.DBLZ2.1 | 1 | 1
Air Circuit Breaker DBP-ZONE 2-1 | LE-MSB.DBPZ2.1 | 1 | 1
Air Circuit Breaker DBL-ZONE 2-2 | LE-MSB.DBLZ2.2 | 1 | 1
Air Circuit Breaker DBP-ZONE 2-2 | LE-MSB.DBPZ2.2 | 1 | 1
Air Circuit Breaker DBL-ZONE 3 | LE-MSB.DBLZ3 | 1 | 1
Air Circuit Breaker DBP-ZONE 3 | LE-MSB.DBPZ3 | 1 | 1
Air Circuit Breaker DB-AIR COMPRESSOR | LE-MSB.DBPCO | 1 | 1
Air Circuit Breaker DB1 | LE-MSB.DB1 | 1 | 1
Air Circuit Breaker DB2 | LE-MSB.DB2 | 1 | 1
Air Circuit Breaker DB3 | LE-MSB.DB3 | 1 | 1
Air Circuit Breaker DB4 | LE-MSB.DB4 | 1 | 1
Distribution board DBL-ZONE 1 | LE-DBLZ1 | 1 | 1
Distribution board DBP-ZONE 1 | LE-DBPZ1 | 1 | 1
Distribution board DBL-ZONE 2-1 | LE-DBLZ2.1 | 1 | 1
Distribution board DBP-ZONE 2-1 | LE-DBPZ2.1 | 1 | 1
Distribution board DBL-ZONE 2-2 | LE-DBLZ2.2 | 1 | 1
Distribution board DBP-ZONE 2-2 | LE-DBPZ2.2 | 1 | 1
Distribution board DBL-ZONE 3 | LE-DBLZ3 | 1 | 1
Distribution board DBP-ZONE 3 | LE-DBPZ3 | 1 | 1
Distribution board DB WARE HOUSE | LE-DBWH | 1 | 1
Distribution board DB- Air-comp room | LE-SDB1 | 1 | 1
Distribution board DB- Air-comp room | LE-SDB2 | 1 | 1
Distribution board DB1 | LE-DB1 | 1 | 1
Distribution board DB2 | LE-DB2 | 1 | 1
Distribution board DB3 | LE-DB3 | 1 | 1
Distribution board DB4 | LE-DB4 | 1 | 1
Distribution board DB8 | LE-DB8 | 1 | 1
Distribution board DB AC Mezzanine | LE-DBACME | 1 | 1
Distribution board DB Clinic room | LE-DBCLN | 1 | 1
Distribution board Water Pump | LE-DB.WP1 | 1 | 1
Distribution board DB Clearning room | LE-DBCL | 1 | 1
Distribution board DB Production office | LE-DBPO | 1 | 1
Distribution board DB Lad | LE-DBLAD | 1 | 1
Distribution board DB E corner | LE-DBEC | 1 | 1
Distribution board DB FM workshop | LE-DBFM | 1 | 1
Distribution board DB chemical storage | LE-DBCS | 1 | 1
Distribution board Water Pump | LE-DB.WP2 | 1 | 1
Distribution board Water Pump | LE-DB.WP3 | 1 | 1
Distribution board Water Pump | LE-DB.WP4 | 1 | 1
Distribution board Water Pump | LE-DB.WP5 | 1 | 1
Distribution board Water Pump | LE-DB.WP6 | 1 | 1
Distribution board Water Pump | LE-DB.WP7.1 | 1 | 1
Distribution board Water Pump | LE-DB.WP7.2 | 1 | 1
Distribution board ACU&CDU 01 | LE-DBAC01 | 1 | 1
Distribution board ACU&CDU 02 | LE-DBAC02 | 1 | 1
Distribution board ACU&CDU 03 | LE-DBAC03 | 1 | 1
Distribution board ACU&CDU 04 | LE-DBAC04 | 1 | 1
Distribution board ACU&CDU 05 | LE-DBAC05 | 1 | 1
Distribution board ACU&CDU 06 | LE-DBAC06 | 1 | 1
Distribution board ACU&CDU 07 | LE-DBAC07 | 1 | 1
Distribution board ACU&CDU 08 | LE-DBAC08 | 1 | 1
Distribution board ACU&CDU 09 | LE-DBAC09 | 1 | 1
Distribution board ACU&CDU 10 | LE-DBAC10 | 1 | 1
Distribution board ACU&CDU 11 | LE-DBAC11 | 1 | 1
Distribution board ACU&CDU 12&13 | LE-DBAC12&13 | 1 | 1
Power metter for AC 1 | LE-PM1 | 1 | 2
Power metter for AC 2 | LE-PM2 | 1 | 2
Power metter for Air-comp machines | LE-PM3 | 1 | 2
Power metter power Zone 1+2 | LE-PM4 | 1 | 2
Power metter power Zone 3 | LE-PM5 | 1 | 2
Power metter lighting PB1 workshop | LE-PM6 | 1 | 2
Power metter for PAD room | LE-PM7 | 1 | 2
Power metter E corner | LE-PM8 | 1 | 2
Power metter LAD room | LE-PM9 | 1 | 2
Power metter Warehouse | LE-PM10 | 1 | 2
Power metter AC Mezzanine | LE-PM11 | 1 | 2
Power metter for all | LE-PM12 | 1 | 2
Power metter Main office | LE-PM13 | 1 | 2
Power metter Security room A1 | LE-PM14 | 1 | 2
Power metter Security room A2 | LE-PM15 | 1 | 2
Power metter for FM workshop | LE-PM16 | 1 | 2
Power metter Mezzenine Power | LE-PM68 | 1 | 2
Power metter Production PB1 office | LE-PM69 | 1 | 2
Power metter Clinic room | LE-PM70 | 1 | 2
Power metter for all | LE-PM71 | 1 | 1
Capacitors cabinet | LE-CA03 | 1 | 2
Air Circuit Breaker ACB-M | LE-ACBM2 | 1 | 2
Air Circuit Breaker ACB-G | LE-ACBG2 | 1 | 2
Air Circuit Breaker Power Breaker | LE-ACB | 1 | 2
MSB-SUB-2 Panel | LE-MSB2 | 1 | 2
Air Circuit Breaker MCC 1 | LE-MSB.MCC1 | 1 | 2
Air Circuit Breaker MCC 2 | LE-MSB.MCC2 | 1 | 2
Air Circuit BreakerMCC 3 | LE-MSB.MCC3 | 1 | 2
Air Circuit Breaker MCC 4 | LE-MSB.MCC4 | 1 | 2
Air Circuit Breaker MCC 5 | LE-MSB.MCC5 | 1 | 2
Air Circuit Breaker MCC 6 | LE-MSB.MCC6 | 1 | 2
Air Circuit Breaker MCC 7 | LE-MSB.MCC7 | 1 | 2
Air Circuit Breaker DB 1 | LE-MSB.DB1 | 1 | 2
Air Circuit Breaker DB 2 | LE-MSB.DB2 | 1 | 2
Air Circuit Breaker DB 3 | LE-MSB.DB3 | 1 | 2
Air Circuit Breaker DB 4 | LE-MSB.DB4 | 1 | 2
Air Circuit Breaker DB 5 | LE-MSB.DB5 | 1 | 2
Air Circuit Breaker DB 6 | LE-MSB.DB6 | 1 | 2
Air Circuit Breaker DB 7 | LE-MSB.DB7 | 1 | 2
Air Circuit Breaker DB 8 | LE-MSB.DB8 | 1 | 2
Air Circuit Breaker DB 9 | LE-MSB.DB9 | 1 | 2
Air Circuit Breaker DB 10 | LE-MSB.DB10 | 1 | 2
Air Circuit Breaker DB 11 | LE-MSB.DB11 | 1 | 2
Air Circuit Breaker DB 12 | LE-MSB.DB12 | 1 | 2
Air Circuit Breaker DB 13 | LE-MSB.DB13 | 1 | 2
Air Circuit Breaker DB 14 | LE-MSB.DB14 | 1 | 2
Air Circuit Breaker DB 15 | LE-MSB.DB15 | 1 | 2
Air Circuit Breaker DB 16 | LE-MSB.DB16 | 1 | 2
Air Circuit Breaker DB 17 | LE-MSB.DB17 | 1 | 2
Air Circuit Breaker DB 18 | LE-MSB.DB18 | 1 | 2
Air Circuit Breaker DB 19 | LE-MSB.DB19 | 1 | 2
Air Circuit Breaker DB 20 | LE-MSB.DB20 | 1 | 2
Air Circuit Breaker DB 21 | LE-MSB.DB21 | 1 | 2
Air Circuit Breaker SPARE-01 | LE-MSB.SPARE | 1 | 2
Air Circuit Breaker SPARE-02 | LE-MSB.SPARE | 1 | 2
Air Circuit Breaker SPARE-03 | LE-MSB.SPARE | 1 | 2
Air Circuit Breaker SPARE-04 | LE-MSB.SPARE | 1 | 2
Air Circuit Breaker SPARE-05 | LE-MSB.SPARE | 1 | 2
Air Circuit Breaker SPARE-06 | LE-MSB.SPARE | 1 | 2
Air Circuit Breaker SPARE-07 | LE-MSB.SPARE | 1 | 2
Air Circuit Breaker SPARE-08 | LE-MSB.SPARE | 1 | 2
Air Circuit Breaker SPARE-09 | LE-MSB.SPARE | 1 | 2
Distribution board MCC 1- Air conditioner WS | LE-MCC1 | 1 | 1
Distribution board MCC 2 Air compressor | LE-MCC2 | 1 | 1
Distribution board MCC 3 Fire Pump | LE-MCC3 | 1 | 1
Distribution board MCC 4- Booster Pump | LE-MCC4 | 1 | 1
Distribution board MCC 5 - IRRIGATION PUMP | LE-MCC5 | 1 | 1
Distribution board MCC 6- Air condition of Office | LE-MCC6 | 1 | 1
Distribution board MCC 7- Waste Pump | LE-MCC7 | 1 | 1
Distribution board DB 1 | LE-DB1 | 1 | 1
Distribution board DB 2 | LE-DB2 | 1 | 1
Distribution board DB 3 | LE-DB3 | 1 | 1
Distribution board DB 4 | LE-DB4 | 1 | 1
Distribution board DB 5 | LE-DB5 | 1 | 1
Distribution board DB 6 | LE-DB6 | 1 | 1
Distribution board DB 7 | LE-DB7 | 1 | 1
Distribution board DB 8 | LE-DB8 | 1 | 1
Distribution board DB 9 | LE-DB9 | 1 | 1
Distribution board DB 10 | LE-DB10 | 1 | 1
Distribution board DB 11 | LE-DB11 | 1 | 1
Distribution board DB 12 | LE-DB12 | 1 | 1
Distribution board DB 13 | LE-DB13 | 1 | 1
Distribution board DB 14 | LE-DB14 | 1 | 1
Distribution board DB 15 | LE-DB15 | 1 | 1
Distribution board DB 16 | LE-DB16 | 1 | 1
Distribution board DB 17 | LE-DB17 | 1 | 1
Distribution board DB 18 | LE-DB18 | 1 | 1
Distribution board DB 19 | LE-DB19 | 1 | 1
Distribution board DB 19A | LE-DB19A | 1 | 1
Distribution board DB 20 | LE-DB20 | 1 | 1
Distribution board DB 21 | LE-DB21 | 1 | 1
Distribution board ACU&CDU5 | LE-DBAC05 | 1 | 1
Distribution board ACU&CDU6 | LE-DBAC06 | 1 | 1
Distribution board ACU&CDU7 | LE-DBAC07 | 1 | 1
Distribution board ACU&CDU8 | LE-DBAC08 | 1 | 1
Distribution board ACU&CDU9 | LE-DBAC09 | 1 | 1
Distribution board ACU&CDU10 | LE-DBAC10 | 1 | 1
Distribution board ACU&CDU11 | LE-DBAC11 | 1 | 1
Distribution board ACU&CDU12 | LE-DBAC12 | 1 | 1
DDC-lighting DB1-DB9 | LE-DDCL1 | 1 | 1
DDC-lighting DB12-DB18 | LE-DDCL2 | 1 | 1
Distribution board DB- Cutting |  | 1 | 1
Distribution board LDCP-1 | LE-LDCP1 | 1 | 1
Distribution board LDCP-2 | LE-LDCP2 | 1 | 1
Distribution board DB-LPG | LE-DBLPG | 1 | 1
Distribution board DB BV | LE-DBBV3 | 1 | 1
Power metter DB1 | LE-PM17 | 1 | 2
Power metter DB2 | LE-PM18 | 1 | 2
Power metter DB3 | LE-PM19 | 1 | 2
Power metter DB4 | LE-PM20 | 1 | 2
Power metter DB5 | LE-PM21 | 1 | 2
Power metter DB6 | LE-PM22 | 1 | 2
Power metter DB7 | LE-PM23 | 1 | 2
Power metter DB8 | LE-PM24 | 1 | 2
Power metter DB9 | LE-PM25 | 1 | 2
Power metter DB10 | LE-PM26 | 1 | 2
Power metter DB11 | LE-PM27 | 1 | 2
Power metter DB12 | LE-PM28 | 1 | 2
Power metter DB13 | LE-PM29 | 1 | 2
Power metter DB14 | LE-PM30 | 1 | 2
Power metter DB15 | LE-PM31 | 1 | 2
Power metter DB16 | LE-PM32 | 1 | 2
Power metter DB17 | LE-PM33 | 1 | 2
Power metter DB18 | LE-PM34 | 1 | 2
Power metter DB19 | LE-PM35 | 1 | 2
Power metter DB20 | LE-PM36 | 1 | 2
Power metter DB21 | LE-PM37 | 1 | 2
Power metter MCC1 | LE-PM38 | 1 | 2
Power metter MCC2 | LE-PM39 | 1 | 2
Power metter MCC3 | LE-PM40 | 1 | 2
Power metter MCC4 | LE-PM41 | 1 | 2
Power metter MCC5 | LE-PM42 | 1 | 2
Power metter MCC6 | LE-PM43 | 1 | 2
Power metter MCC7 | LE-PM44 | 1 | 2
Power metter LP1 | LE-PM45 | 1 | 2
Power metter SPARE | LE-PM46 | 1 | 2
Power metter SPARE | LE-PM47 | 1 | 2
Power metter ACCT | LE-PM48 | 1 | 2
Power metter BVA3 | LE-PM49 | 1 | 2
Capacitors cabinet | LE-CA04 | 6 | 1
Air Circuit Breaker ACB-M | LE-ACBM3 | 1 | 1
Air Circuit Breaker ACB-G | LE-ACBG3 | 1 | 1
MSB-SUB-3 Panel | LE-MSB3 | 1 | 1
Distribution board DB-MC( Cutting) | LE-DBMC | 1 | 1
Distribution board LP-FAC | LE-DBFAC | 1 | 1
Distribution board LP-WH | LE-DBWH | 1 | 1
Distribution board DB-FAN 1 | LE-DBFAN1 | 1 | 1
Distribution board DB-FAN 2 | LE-DBFAN2 | 1 | 1
Distribution board DB-HVLF | LE-DBHVLF | 1 | 1
Distribution board LP-OFF | LE-DBOFF | 1 | 1
Distribution board DB-COMP | LE-DBCO | 1 | 1
Distribution board DB-FFP | LE-DBFFP | 1 | 1
Distribution board Water Pump | LE-DBWP6 | 1 | 1
Distribution board DB-GH | LE-DBMEC | 1 | 1
Distribution board DB FAN 3 | LE-DBFAN3 | 1 | 1
Distribution board LP-QC | LE-LPQC | 1 | 1
Distribution board DB WH Office | LE-DBWH | 1 | 1
Distribution board DB AC Waste water | LE-DBWH1 | 1 | 1
Distribution board LP- TRAS | LE-DBTRAS | 1 | 1
Distribution board DUST COLLECTOR | LE-DBDUST | 1 | 1
Distribution board DB-M1 | LE-DBM1 | 1 | 1
Distribution board DB-M2 | LE-DBM2 | 1 | 1
Distribution board DB Filter Pump | LE-DBFP | 1 | 1
Distribution board DB Fan Pump room | LE-DBFP | 1 | 1
Distribution board DB Fan Generator | LE-DBFG | 1 | 1
Distribution board Oil pump | LE-DBOP3 | 1 | 1
Distribution board DB Cutting 1 | LE-DBC1 | 1 | 1
Distribution board DB Filter Fan | LE-DBFF | 7 | 1
Controler BMS | LE-BMS | 1 | 1
Distribution board DB Gerber01 | LE-DBSM1 | 1 | 1
Distribution board DB Gerber02 | LE-DBSM2 | 1 | 1
Distribution board DB Gerber03 | LE-DBSM3 | 1 | 1
Distribution board DB Gerber04 | LE-DBSM4 | 1 | 1
Distribution board DB Gerber05 | LE-DBSM5 | 1 | 1
Distribution board DB Gerber06 | LE-DBSM6 | 1 | 1
Distribution board DB TSM2 | LE-DBSM7 | 1 | 1
Distribution board DB TSM3 | LE-DBSM8 | 1 | 1
Distribution board DB Utica1 | LE-DBSM9 | 1 | 1
Distribution board DB Utica2 | LE-DBSM10 | 1 | 1
Distribution board DB Utica3 | LE-DBSM11 | 1 | 1
Distribution board DB Utica4 | LE-DBSM12 | 1 | 1
Distribution board DB Utica5 | LE-DBSM13 | 1 | 1
Distribution board DB Utica6 | LE-DBSM14 | 1 | 1
Distribution board DB Utica7 | LE-DBSM15 | 1 | 1
Distribution board DB Utica8 | LE-DBSM16 | 1 | 1
Distribution board DB Utica9 | LE-DBSM17 | 1 | 1
Distribution board DB Utica10 | LE-DBSM18 | 1 | 1
Distribution board DB Utica11 | LE-DBSM19 | 1 | 1
Distribution board DB hydraulic lift table 01 | LE-DBHL1 | 1 | 1
Distribution board DB hydraulic lift table 02 | LE-DBHL2 | 1 | 1
Distribution board DB hydraulic lift table 03 | LE-DBHL3 | 1 | 1
Distribution board DB hydraulic lift table 04 | LE-DBHL4 | 1 | 1
Distribution board DB hydraulic lift table 05 | LE-DBHL5 | 1 | 1
Distribution board DB hydraulic lift table 06 | LE-DBHL6 | 1 | 1
Distribution board DB hydraulic lift table 07 | LE-DBHL7 | 1 | 1
Distribution board DB hydraulic lift table 08 | LE-DBHL8 | 1 | 1
Distribution board DB hydraulic lift table 09 | LE-DBHL9 | 1 | 1
Distribution board DB hydraulic lift table 10 | LE-DBHL10 | 1 | 1
Distribution board DB hydraulic lift table 11 | LE-DBHL11 | 1 | 1
Distribution board DB hydraulic lift table 12 | LE-DBHL12 | 1 | 1
Distribution board DB hydraulic lift table 13 | LE-DBHL13 | 1 | 1
Distribution board DB hydraulic lift table 14 | LE-DBHL14 | 1 | 1
Distribution board DB hydraulic lift table 15 | LE-DBHL15 | 1 | 1
Distribution board DB hydraulic lift table 16 | LE-DBHL16 | 1 | 1
Distribution board DB hydraulic lift table 17 | LE-DBHL17 | 1 | 1
Distribution board DB hydraulic lift table 18 | LE-DBHL18 | 1 | 1
Distribution board DB hydraulic lift table 19 | LE-DBHL19 | 1 | 1
Distribution board DB hydraulic lift table 20 | LE-DBHL20 | 1 | 1
Distribution board MCC4 Spot cooling | LE-MCC4 | 1 | 1
Power metter for all | LE-PM50 | 1 | 1
Power metter DBMC | LE-PM51 | 1 | 1
Power metter DBFAC | LE-PM52 | 1 | 1
Power metter DBWH | LE-PM53 | 1 | 1
Power metter DBFAN1 | LE-PM54 | 1 | 1
Power metter DBFAN1 | LE-PM55 | 1 | 1
Power metter DBHVLF | LE-PM56 | 1 | 1
Power metter DBOFF | LE-PM57 | 1 | 1
Power metter DBCO | LE-PM58 | 1 | 1
Power metter DBFFP | LE-PM59 | 1 | 1
Power metter DBWSP | LE-PM60 | 1 | 1
Power metter DBMEC | LE-PM61 | 1 | 1
Power metter DBFAN3 | LE-PM62 | 1 | 1
Power metter DBLPQC | LE-PM63 | 1 | 1
Power metter DBTRAS | LE-PM64 | 1 | 1
Power metter DBDUST | LE-PM65 | 1 | 1
Power metter DBM1 | LE-PM66 | 1 | 1
Power metter DBM2 | LE-PM67 | 1 | 1
Generator | GE-GEN01 | 1 | 1
Generator | GE-GEN4 | 1 | 1
Battery 200A | GE-BG1 | 1 | 2
Battery 200A | GE-BG2 | 1 | 2
Battery 200A | GE-BG3 | 1 | 2
Battery 200A | GE-BG4 | 1 | 2
Battery 200A | GE-BG5 | 1 | 2
Battery 200A | GE-BG6 | 1 | 2
Battery 200A | GE-BG7 | 1 | 2
Battery 200A | GE-BG8 | 1 | 2
Battery 200A | GE-BG9 | 1 | 2
Battery 200A | GE-BG10 | 1 | 2
Battery 200A | GE-BG11 | 1 | 2
Battery 200A | GE-BG12 | 1 | 2
Battery 200A | GE-BG13 | 1 | 2
Battery 200A | GE-BG14 | 1 | 2
Battery 200A | GE-BG15 | 1 | 2
Battery 200A | GE-BG16 | 1 | 2
Battery 200A | GE-BG17 | 1 | 2
Battery Charger | GE-GC01 | 1 | 2
Battery Charger | GE-GC02 | 1 | 2
Battery Charger | GE-GC03 | 1 | 2
Battery Charger | GE-GC04 | 1 | 2
PB1 Water Pipe system | WS-PIPE01 | 1 | 1
Water pump for Drink | WS-WP20 | 1 | 1
Water pump for Drink | WS-WP21 | 1 | 1
Water pump for Drink | WS-WP22 | 1 | 1
Water pump for Drink | WS-WP23 | 1 | 1
Water pump for Drink | WS-WP24 | 1 | 1
Water pump for Drink | WS-WP25 | 1 | 1
Water filter | WS-WF01 | 1 | 1
RO water filter | WS-WF02 | 1 | 1
Supply water filter lọc tinh | WS-WF03 | 1 | 1
Cation filter water | WS-WF04 | 1 | 1
Cation filter water | WS-WF05 | 1 | 1
UV-light | WS-UV1 | 1 | 1
UV-light | WS-UV2 | 1 | 1
Water Pipe system for Drink | WS-PIPE02 | 1 | 1
Water pump for Filter | WS-WP12 | 1 | 1
Water pump for Filter | WS-WP13 | 1 | 1
Water Pump for Garden | WS-WP14 | 1 | 1
Water Pump for Garden | WS-WP15 | 1 | 1
Water pump for Drink | WS-WP9 | 1 | 1
Water pump for Drink | WS-WP10 | 1 | 1
Water pump for Drink | WS-WP11 | 1 | 1
Sand water filter-01 | WS-WF06 | 1 | 1
Sand water filter-02 | WS-WF07 | 1 | 1
UV-light( Lamp, ballast, glass sleeve, sensor) | WS-UV3 | 1 | 1
Water Pipe system for Drink | WS-PIPE02 | 1 | 1
Water Pipe system | WS-PIPE03 | 1 | 1
Water Tank 01 | WS-WT02 | 1 | 1
Water Tank 02 | WS-WT03 | 1 | 1
Water pump | WS-WP16 | 1 | 1
Water pump | WS-WP17 | 1 | 1
Water filter | WS-WF8 | 1 | 1
Water filter | WS-WF9 | 1 | 1
Water pump for Filter | WS-WP18 | 1 | 1
Water pump for Filter | WS-WP19 | 1 | 1
Water Pump for Floor PB3 | WS-WP20 | 1 | 1
Waste water pump | DS-WP1 | 1 | 1
Waste water pump | DS-WP2 | 1 | 1
External piping | DS-EP3 | 1 | 1
Rain piping | DS-RP3 | 1 | 2
Fire water diesel pump | FF-WP1 | 1 | 1
Fire water electric pump | FF-WP2 | 1 | 1
Battery 100A | FF- BF1 | 1 | 2
Battery Charger | FF-FC01 | 1 | 2
Fire water diesel pump | FF-WP3 | 1 | 1
Fire water electric pump | FF-WP4 | 1 | 1
Fire water motor pump( jockey pump) | FF-WP5 | 1 | 1
Battery 100A | FF- BF2 | 1 | 2
Battery Charger | FF-FC2 | 1 | 2
Hose Reel | FF-HR17 | 1 | 2
Hose Reel | FF-HR18 | 1 | 2
Hose Reel | FF-HR19 | 1 | 2
Hose Reel | FF-HR20 | 1 | 2
Hose Reel | FF-HR21 | 1 | 2
Hose Reel | FF-HR22 | 1 | 2
Hose Reel | FF-HR23 | 1 | 2
Hose Reel | FF-HR24 | 1 | 2
Hose Reel | FF-HR25 | 1 | 2
Hose Reel | FF-HR26 | 1 | 2
Hose Reel | FF-HR27 | 1 | 2
Hose Reel | FF-HR28 | 1 | 2
Hose Reel | FF-HR29 | 1 | 2
Hose Reel | FF-HR30 | 1 | 2
Fire water diesel pump | FF-WP6 | 1 | 1
Fire water electric pump | FF-WP7 | 1 | 1
Fire water motor pump( jockey pump) | FF-WP8 | 1 | 1
sprinkler system | FF-WP8
Battery 100A | FF- BF3 | 1 | 2
Battery 100A | FF- BF4 | 1 | 2
Battery Charger | FF-FC3 | 1 | 2
Hose Reel | FF-HR31 | 1 | 2
Hose Reel | FF-HR32 | 1 | 2
Hose Reel | FF-HR33 | 1 | 2
Hose Reel | FF-HR34 | 1 | 2
Hose Reel | FF-HR35 | 1 | 2
Hose Reel | FF-HR36 | 1 | 2
Hose Reel | FF-HR37 | 1 | 2
Hose Reel | FF-HR38 | 1 | 2
Hose Reel | FF-HR39 | 1 | 2
Hose Reel | FF-HR40 | 1 | 2
Hose Reel | FF-HR41 | 1 | 2
Hose Reel | FF-HR42 | 1 | 2
Hose Reel | FF-HR43 | 1 | 2
Smoke sensor alarm | FA-SD1÷65 | 65 | 1
Alarm press swicht | FA-FS | 13 | 1
Alarm bell | FA-BE1 | 13 | 1
Fire alarm Control panel | FA-CP1 | 1 | 1
Fire alarm Control panel | FA-CP2 | 1 | 1
Fire alarm Control panel | FA-CP2 | 1 | 1
Heat sensor alarm | FA-HD1÷2 | 2 | 1
Fire alarm control panel | FA-CP3 | 1 | 1
MiMIC panel( PA panel) | FA-PA1 | 1 | 1
Break glass | FA-BG1÷23 | 23 | 1
Addressable smoke detector | FA-SD1÷146 | 148 | 1
Addressable Heat detector | FA-HD3÷34 | 32 | 1
Address able Flame detector ( smoke detector ) | FA-SD147÷153 | 6 | 1
Addressable smoke detector | FA-SD154÷155 | 2 | 1
Beam detector | FA-BD1÷11 | 11 | 1
Addressable relay module | FA-RM1÷7 | 7 | 1
Addressable monitor module | FA-MM1÷3 | 3 | 1
Addressable module | FA-AM1÷11 | 11 | 1
Module cách ly | DCP-SCI1÷4 | 4 | 1
Control module | FA-CM1 | 1 | 1
Duct smoke detector | FA-SD156÷174 | 18 | 1
EWIS control panel | FA-ECP | 1 | 1
EWIS control panel màn hình phụ | FA-ECP2 | 1 | 1
6W Ceiling speaker | FA-CP1÷61 | 61 | 1
15w wall mounted speaker | FA-CP15 | 49 | 1
Fire alarm control panel | FA-CP4 | 1 | 1
Smoke alarm detector | FA-SD175÷180 | 6 | 1
Addressable Heat detector | FA-HD35÷39 | 5 | 1
Smoke detector | FA-SD181÷234 | 53 | 1
Break glass | FA-BG24÷31 | 8 | 1
Addressable relay module | FA-RM8 | 1 | 1
Beam detector | FA-BD | 4 | 1
Addressable module | FA-AM | 4 | 1
EWIS control panel màn hình phụ hệ PB3 | FA-ECP3 | 1 | 1
EWIS control panel màn hình phụ hệ PB3 | FA-ECP4 | 1 | 1
Automatic emergency Light -phubai3 | FA-EL175÷211 | 36 | 1
Automatic emergency Light -Canteen | FA-EL212÷247 | 36 | 1
Automatic Exit Light- PB3 | FA-EXL62÷72 | 11 | 1
Gas Tank | GA-GT1 | 1 | 2
LPG Vaporizer | GA-GV1 | 1 | 1
LPG Pipe system | GA-GP | 1 | 1
Recorder-01 | CC-REC1 | 1 | 2
Recorder-02 | CC-REC2 | 1 | 2
Recorder-03 | CC-REC3 | 1 | 2
Cameras LCD Display -01 | CC-TV01 | 1 | 2
Cameras LCD Display -02 | CC-TV02 | 1 | 2
Cameras LCD Display -03 | CC-TV03 | 1 | 2
Cameras-N0:01 | CC-CAM01 | 1 | 2
Cameras-N0:02 | CC-CAM02 | 1 | 2
Cameras-N0:03 | CC-CAM03 | 1 | 2
Cameras-N0:04 | CC-CAM04 | 1 | 2
Cameras-N0:05 | CC-CAM05 | 1 | 2
Cameras-N0:06 | CC-CAM06 | 1 | 2
Cameras-N0:07 | CC-CAM07 | 1 | 2
Cameras-N0:08 | CC-CAM08 | 1 | 2
Cameras-N0:09 | CC-CAM09 | 1 | 2
Cameras-N0:10 | CC-CAM10 | 1 | 2
Cameras-N0:11 | CC-CAM11 | 1 | 2
Cameras-N0:12 | CC-CAM12 | 1 | 2
Cameras-N0:13 | CC-CAM13 | 1 | 2
Cameras-N0:14 | CC-CAM14 | 1 | 2
Cameras-N0:15 | CC-CAM15 | 1 | 2
Cameras-N0:16 | CC-CAM16 | 1 | 2
Cameras-N0:17 | CC-CAM17 | 1 | 2
Cameras-N0:18 | CC-CAM18 | 1 | 2
Cameras-N0:19 | CC-CAM19 | 1 | 2
Cameras-N0:20 | CC-CAM20 | 1 | 2
Cameras-N0:21 | CC-CAM21 | 1 | 2
Cameras-N0:22 | CC-CAM22 | 1 | 2
Cameras-N0:23 | CC-CAM23 | 1 | 2
Cameras-N0:24 | CC-CAM24 | 1 | 2
Cameras-N0:25 | CC-CAM25 | 1 | 2
Cameras-N0:26 | CC-CAM26 | 1 | 2
Cameras-N0:27 | CC-CAM27 | 1 | 2
Cameras-N0:28 | CC-CAM28 | 1 | 2
Cameras-N0:29 | CC-CAM29 | 1 | 2
Cameras-N0:30 | CC-CAM30 | 1 | 2
Cameras-N0:31 | CC-CAM31 | 1 | 2
Cameras-N0:32 | CC-CAM32 | 1 | 2
Cameras-N0:33 | CC-CAM33 | 1 | 2
Cameras-N0:34 | CC-CAM34 | 1 | 2
Cameras-N0:35 | CC-CAM35 | 1 | 2
Cameras-N0:36 | CC-CAM36 | 1 | 2
Cameras-N0:37 | CC-CAM37 | 1 | 2
Cameras-N0:38 | CC-CAM38 | 1 | 2
Cameras -N0:39 | CC-CAM97 | 1 | 2
RecorderN0:01 | CC-REC4 | 1 | 2
RecorderN0:02 | CC-REC5 | 1 | 2
RecorderN0:01 | CC-REC7 | 1 | 2
Cameras LCD Display -01 | CC-TV03 | 1 | 2
Cameras LCD Display -02 | CC-TV04 | 1 | 2
Cameras -N0:01 | CC-CAM39 | 1 | 2
Cameras -N0:02 | CC-CAM40 | 1 | 2
Cameras -N0:03 | CC-CAM41 | 1 | 2
Cameras -N0:04 | CC-CAM42 | 1 | 2
Cameras -N0:05 | CC-CAM43 | 1 | 2
Cameras -N0:06 | CC-CAM44 | 1 | 2
Cameras -N0:07 | CC-CAM45 | 1 | 2
Cameras -N0:08 | CC-CAM46 | 1 | 2
Cameras -N0:09 | CC-CAM47 | 1 | 2
Cameras -N0:10 | CC-CAM48 | 1 | 2
Cameras -N0:11 | CC-CAM49 | 1 | 2
Cameras -N0:12 | CC-CAM50 | 1 | 2
Cameras -N0:13 | CC-CAM51 | 1 | 2
Cameras -N0:14 | CC-CAM52 | 1 | 2
Cameras -N0:15 | CC-CAM53 | 1 | 2
Cameras -N0:16 | CC-CAM54 | 1 | 2
Cameras -N0:17 | CC-CAM55 | 1 | 2
Cameras -N0:18 | CC-CAM56 | 1 | 2
Cameras -N0:19 | CC-CAM57 | 1 | 2
Cameras -N0:20 | CC-CAM58 | 1 | 2
Cameras -N0:21 | CC-CAM59 | 1 | 2
Cameras -N0:22 | CC-CAM60 | 1 | 2
Cameras -N0:23 | CC-CAM61 | 1 | 2
Cameras -N0:24 | CC-CAM62 | 1 | 2
Cameras -N0:25 | CC-CAM63 | 1 | 2
Cameras -N0:26 | CC-CAM64 | 1 | 2
Cameras -N0:27 | CC-CAM65 | 1 | 2
Cameras -N0:28 | CC-CAM66 | 1 | 2
Cameras -N0:29 | CC-CAM67 | 1 | 2
Cameras -N0:30 | CC-CAM68 | 1 | 2
Cameras -N0:31 | CC-CAM69 | 1 | 2
Cameras -N0:33 | CC-CAM98 | 1 | 2
Cameras -N0:34 | CC-CAM99 | 1 | 2
Cameras -N0:35 | CC-CAM100 | 1 | 2
Cameras -N0:36 | CC-CAM101 | 1 | 2
Cameras -N0:37 | CC-CAM102 | 1 | 2
Cameras -N0:38 | CC-CAM103 | 1 | 2
RecorderN0:01 | CC-REC6 | 1 | 2
RecorderN0:02 | CC-REC7 | 1 | 2
Cameras LCD Display -01 | CC-TV05 | 1 | 2
Cameras LCD Display -02 | CC-TV06 | 1 | 2
Cameras LCD Display -03 | CC-TV07 | 1 | 2
Cameras -N0:01 | CC-CAM70 | 1 | 2
Cameras -N0:02 | CC-CAM71 | 1 | 2
Cameras -N0:03 | CC-CAM72 | 1 | 2
Cameras -N0:04 | CC-CAM73 | 1 | 2
Cameras -N0:05 | CC-CAM74 | 1 | 2
Cameras -N0:06 | CC-CAM75 | 1 | 2
Cameras -N0:07 | CC-CAM76 | 1 | 2
Cameras -N0:08 | CC-CAM77 | 1 | 2
Cameras -N0:09 | CC-CAM78 | 1 | 2
Cameras -N0:10 | CC-CAM79 | 1 | 2
Cameras -N0:11 | CC-CAM80 | 1 | 2
Cameras -N0:12 | CC-CAM81 | 1 | 2
Cameras -N0:13 | CC-CAM82 | 1 | 2
Cameras -N0:14 | CC-CAM83 | 1 | 2
Cameras -N0:15 | CC-CAM84 | 1 | 2
Cameras -N0:16 | CC-CAM85 | 1 | 2
Cameras -N0:17 | CC-CAM86 | 1 | 2
Cameras -N0:18 | CC-CAM87 | 1 | 2
Cameras -N0:19 | CC-CAM88 | 1 | 2
Cameras -N0:20 | CC-CAM89 | 1 | 2
Cameras -N0:21 | CC-CAM90 | 1 | 2
Cameras -N0:22 | CC-CAM91 | 1 | 2
Cameras -N0:23 | CC-CAM92 | 1 | 2
Cameras -N0:24 | CC-CAM93 | 1 | 2
Cameras -N0:25 | CC-CAM94 | 1 | 2
Cameras -N0:26 | CC-CAM95 | 1 | 2
Cameras -N0:27 | CC-CAM96 | 1 | 2
Amly | PA-AM1 | 1 | 2
Mixer | PA-MI1 | 1 | 2
DVD | PA-DVD1 | 1 | 2
Recorder | PA-REC1 | 1 | 2
Amly | PA-AM1 | 1 | 2
DVD | PA-DVD1 | 1 | 2
bell | PA-SP1÷26 | 26 | 2
Speaker | PA-SP27÷64 | 38 | 2
Amly | PA-AM2 | 1 | 2
Mixer | PA-MI2 | 1 | 2
Recorder | PA-REC2 | 1 | 2
DVD | PA-DVD2 | 1 | 2
Speaker- | PA-SP65÷115 | 50 | 2
Amly | PA-AM3 | 1 | 2
Mixer | PA-MI3 | 1 | 2
Speaker | PA-SP115÷126 | 12 | 2
Amly | PA-AM4 | 1 | 2
Mixer | PA-MI4 | 1 | 2
Speaker 250 | PA-SP127÷128 | 4 | 2
ETV-116 no.1 | FL-ETV01 | 1 | 1
EFG 320 no.4 | FL-EFG04 | 1 | 1
EFG 320 no.5 | FL-EFG05 | 1 | 1
ETV-116 no.08 | FL-ETV08 | 1 | 1
ERE-120 no.10 | FL-ERE10 | 1 | 1
ETV-216 no.16 | FL-ETV16 | 1 | 1
EFG 320 no.14 | FL-EFG14 | 1 | 1
ERE-120 no. 12 | FL-ERE12 | 1 | 1
Linde E20P no.18 | FL-E2018 | 1 | 1
Linde H20T no.19 | FL-H2019 | 1 | 1
ETV-116 no.2 | FL-ETV02 | 1 | 1
ETV-116 no.3 | FL-ETV03 | 1 | 1
EFG 213-320 no:6 | FL-EFG06 | 1 | 1
EFG 213-320 no:07 | FL-EFG07 | 1 | 1
ETV-116 no.09 | FL-ETV09 | 1 | 1
ERE-120 no:11 | FL-ERE11 | 1 | 1
ETV-216 no.17 | FL-ETV17 | 1 | 1
EFG 320 no.15 | FL-EFG15 | 1 | 1
ERE-120 no.13 | FL-ERE13 | 1 | 1
Linde H30T no.20 | FL-H3020 |  | 1
DZL no.21 | FL-DZL21 | 1 | 1
DZL no.22 | FL-DZL22 | 1 | 1
GS -3246 | FL-GS | 1 | 1
charger no:01 | FL-FC01 | 1 | 2
charger no:02 | FL-FC02 | 1 | 2
charger no:03 | FL-FC03 | 1 | 2
charger no:04 | FL-FC04 | 1 | 2
charger no:05 | FL-FC05 | 1 | 2
charger no:06 | FL-FC06 | 1 | 2
charger-phubai2 |  | 5
Charger no:01 | FL-FC06 | 1 | 2
Charger no:02 | FL-FC07 | 1 | 2
Charger no:03 | FL-FC08 | 1 | 2
Charger no:04 | FL-FC09 | 1 | 2
Charger no:05 | FL-FC10 | 1 | 2
Charger no:01 | FL-FC11 | 1 | 2
Charger no:02 | FL-FC12 | 1 | 2
Charger no:03 | FL-FC13 | 1 | 2
Charger no:04 | FL-FC14 | 1 | 2
Charger no:05 | FL-FC15 | 1 | 2
Charger no:06 | FL-FC16 | 1 | 2
Charger no:07 | FL-FC17 | 1 | 2
Charger no:08 | FL-FC18 | 1 | 2
Hand fork-lift | HF-WH01 | 1 | 2
Hand fork-lift | HF-WH02 | 1 | 2
Hand fork-lift | HF-WH03 | 1 | 2
Hand fork-lift | HF-WH04 | 1 | 2
Hand fork-lift | HF-WH05 | 1 | 2
Hand fork-lift | HF-WH06 | 1 | 2
Hand fork-lift | HF-WH07 | 1 | 2
Hand fork-lift | HF-WH08 | 1 | 2
Hand fork-lift | HF-WH09 | 1 | 2
Hand fork-lift | HF-WH10 | 1 | 2
Hand fork-lift | HF-WH11 | 1 | 2
Hand fork-lift | HF-WH12 | 1 | 2
Hand fork-lift | HF-WH13 | 1 | 2
Hand fork-lift | HF-WH14 | 1 | 2
Hand fork-lift | HF-WH15 | 1 | 2
Hand fork-lift | HF-WH16 | 1 | 2
Hand fork-lift | HF-WH17 | 1 | 2
Hand fork-lift | HF-WH18 | 1 | 2
Hand fork-lift | HF-WH19 | 1 | 2
Hand fork-lift | HF-WH20 | 1 | 2
Hand fork-lift | HF-WH21 | 1 | 2
Hand fork-lift | HF-WH22 | 1 | 2
Hand fork-lift | HF-WH23 | 1 | 2
Hand fork-lift | HF-WH24 | 1 | 2
Hand fork-lift | HF-WH25 | 1 | 2
Hand fork-lift | HF-WH26 | 1 | 2
Hand fork-lift | HF-WH27 | 1 | 2
Hand fork-lift | HF-WH28 | 1 | 2
Hand fork-lift | HF-WH29 | 1 | 2
Hand fork-lift | HF-WH30 | 1 | 2
Hand fork-lift | HF-WH31 | 1 | 2
Hand fork-lift | HF-WH32 | 1 | 2
Hand fork-lift | HF-WH33 | 1 | 2
Hand fork-lift | HF-WH34 | 1 | 2
Hand fork-lift | HF-WH35 | 1 | 2
Hand fork-lift | HF-WH36 | 1 | 2
Hand fork-lift | HF-WH37 | 1 | 2
Hand fork-lift | HF-WH38 | 1 | 2
Hand fork-lift | HF-WH39 | 1 | 2
Hand fork-lift | HF-WH40 | 1 | 2
Hand fork-lift | HF-PR41 | 1 | 2
Hand fork-lift | HF-PR42 | 1 | 2
Hand fork-lift | HF-PR43 | 1 | 2
Hand fork-lift | HF-PR44 | 1 | 2
Hand fork-lift | HF-PR45 | 1 | 2
Hand fork-lift | HF-PR46 | 1 | 2
Hand fork-lift | HF-PR47 | 1 | 2
Hand fork-lift | HF-PR48 | 1 | 2
Hand fork-lift | HF-PR49 | 1 | 2
Hand fork-lift | HF-PR50 | 1 | 2
Hand fork-lift | HF-PR51 | 1 | 2
Hand fork-lift | HF-PR52 | 1 | 2
Hand fork-lift | HF-PR53 | 1 | 2
Hand fork-lift | HF-PR54 | 1 | 2
Hand fork-lift | HF-PR55 | 1 | 2
Hand fork-lift | HF-PR56 | 1 | 2
Hand fork-lift | HF-PR57 | 1 | 2
Hand fork-lift | HF-PR58 | 1 | 2
Hand fork-lift | HF-PR59 | 1 | 2
Hand fork-lift | HF-PR60 | 1 | 2
Hand fork-lift | HF-WH61 | 1 | 2
Hand fork-lift | HF-WH62 | 1 | 2
Hand fork-lift | HF-WH63 | 1 | 2
Hand fork-lift | HF-WH64 | 1 | 2
Hand fork-lift | HF-WH65 | 1 | 2
Hand fork-lift | HF-PR66 | 1 | 2
Hand fork-lift | HF-PR67 | 1 | 2
Hand fork-lift | HF-PR68 | 1 | 2
Hand fork-lift | HF-PR69 | 1 | 2
Hand fork-lift | HF-PR70 | 1 | 2
Hand fork-lift | HF-PR71 | 1 | 2
Hand fork-lift | HF-PR72 | 1 | 2
Hand fork-lift | HF-PR73 | 1 | 2
Hand fork-lift | HF-PR74 | 1 | 2
Hand fork-lift | HF-PR75 | 1 | 2
Hand fork-lift | HF-PR76 | 1 | 2
Hand fork-lift | HF-PR77 | 1 | 2
Hand fork-lift | HF-PR78 | 1 | 2
Hand fork-lift | HF-PR79 | 1 | 2
Hand fork-lift | HF-PR80 | 1 | 2
Hand fork-lift | HF-PR81 | 1 | 2
Hand fork-lift | HF-PR82 | 1 | 2
Hand fork-lift | HF-PR83 | 1 | 2
Hand fork-lift | HF-PR84 | 1 | 2
Dock leveler no:01 | DL-D1 | 1 | 2
Dock leveler no:02 | DL-D2 | 1 | 2
Dock leveler no:03 | DL-D3 | 1 | 2
Dock leveler no:04 | DL-D4 | 1 | 2
Dock leveler no:05 | DL-D5 | 1 | 2
Dock leveler no:06 | DL-D6 | 1 | 2
Dock leveler no:07 | DL-D7 | 1 | 2
Dock leveler no:08 | DL-D8 | 1 | 2
DOCK LEVELER PB2
Dock leveler no:01 | DL-D1 | 1 | 2
Dock leveler no:02 | DL-D2 | 1 | 2
Dock leveler no:03 | DL-D3 | 1 | 2
Dock leveler no:04 | DL-D4 | 1 | 2
Dock leveler no:05 | DL-D5 | 1 | 2
Dock leveler no:06 | DL-D6 | 1 | 2
Dock leveler no:07 | DL-D7 | 1 | 2
Dock leveler no:08 | DL-D8 | 1 | 2
Dock leveler no:09 | DL-D9 | 1 | 2
Dock leveler no:10 | DL-D10 | 1 | 2
DOCK LEVELER PB3
Dock leveler no:01 | DL-D1 | 1 | 2
Dock leveler no:02 | DL-D2 | 1 | 2
Dock leveler no:03 | DL-D3 | 1 | 2
Dock leveler no:04 | DL-D4 | 1 | 2
Dock leveler no:05 | DL-D5 | 1 | 2
Trailer stand 01 | DL-TS1 | 1 | 2
Trailer stand 02 | DL-TS2 | 1 | 2
Trailer stand 03 | DL-TS3 | 1 | 2
Trailer stand 04 | DL-TS4 | 1 | 2
Trailer stand 05 | DL-TS5 | 1 | 2
Trailer stand 06 | DL-TS6 | 1 | 2
Trailer stand 07 | DL-TS7 | 1 | 2
Trailer stand 08 | DL-TS8 | 1 | 2
Trailer stand 01 | DL-TS1 | 1 | 2
Trailer stand 02 | DL-TS2 | 1 | 2
Trailer stand 03 | DL-TS3 | 1 | 2
Trailer stand 04 | DL-TS4 | 1 | 2
Trailer stand 05 | DL-TS5 | 1 | 2
Trailer stand 06 | DL-TS6 | 1 | 2
Trailer stand 07 | DL-TS7 | 1 | 2
Trailer stand 08 | DL-TS8 | 1 | 2
Trailer stand 09 | DL-TS9 | 1 | 2
Trailer stand 01 | DL-TS1 | 1 | 2
Trailer stand 02 | DL-TS2 | 1 | 2
Trailer stand 03 | DL-TS3 | 1 | 2
Trailer stand 04 | DL-TS4 | 1 | 2
Trailer stand 05 | DL-TS5 | 1 | 2
s | SD-HD20 | 1 | 2
Hand dryer 21 | SD-HD21 | 1 | 2
Hand dryer 22 | SD-HD22 | 1 | 2
Hand dryer 23 | SD-HD23 | 1 | 2
Hand dryer 24 | SD-HD24 | 1 | 2
Hand dryer 25 | SD-HD25 | 1 | 2
Hand dryer 26 | SD-HD26 | 1 | 2
Needles detector machine | QC-ND1 | 1 | 1
Washing machine N0: 01 | QC-WAS1 | 1 | 2
Washing machine N0: 02 | QC-WAS2 | 1 | 2
Washing machine N0: 03 | QC-WAS3 | 1 | 2
Washing machine N0: 04 | QC-WAS4 | 1 | 2
Washing machine N0: 05 | QC-WAS5 | 1 | 2
Washing machine N0: 06 | QC-WAS6 | 1 | 2
- Dryer Machine N0: 01 | QC-DR1 | 1 | 2
- Dryer Machine N0: 02 | QC-DR2 | 1 | 2
- Dryer Machine N0: 03 | QC-DR3 | 1 | 2
- Dryer Machine N0: 04 | QC-DR4 | 1 | 2
- Dryer Machine N0: 05 | QC-DR5 | 1 | 2
water Heater N0: 01 | QC-HW1 | 1 | 2
water Heater N0: 02 | QC-HW2 | 1 | 2
Spray machineN0: 01 | QC-SP1 | 1 | 2
Spray machineN0: 02 | QC-SP2 | 1 | 2
Spray machineN0: 03 | QC-SP3 | 1 | 2
Spray machineN0: 04 | QC-SP3 | 1 | 2
Glosber Mechane | QC-GL | 1 | 2
RackingA | RA-1 | 1 | 2
RackingB | RA-2 | 1 | 2
Racking C | RA-3 | 1 | 2
Racking D | RA-4 | 1 | 2
Racking E | RA-5 | 1 | 2
Racking F | RA-6 | 1 | 2
RackingG | RA-7 | 1 | 2
Racking K | RA-8 | 1 | 2
Racking L | RA-9 | 1 | 2
Racking M | RA-10 | 1 | 2
Racking N | RA-11 | 1 | 2
RackingO | RA-12 | 1 | 2
Racking P | RA-13 | 1 | 2
Racking Q | RA-14 | 1 | 2
Racking R | RA-15 | 1 | 2
Racking S | RA-16 | 1 | 2
RackingT | RA-17 | 1 | 2
Racking U+V | RA-18 | 1 | 2
Racking FB | RA-20 | 1 | 2
Racking FC | RA-21 | 1 | 2
Racking FD | RA-22 | 1 | 2
Racking FE | RA-23 | 1 | 2
Racking FH | RA-24 | 1 | 2
Racking FG | RA-25 | 1 | 2
RackingFI | RA-26 | 1 | 2
Exhaut fan N0: 01 | FN-EX01 | 1 | 2
Exhaut fan N0: 02 | FN-EX02 | 1 | 2
Exhaut fan N0: 03 | FN-EX03 | 1 | 2
Exhaut fan N0: 04 | FN-EX04 | 1 | 2
Exhaut fan N0: 05 | FN-EX05 | 1 | 2
Exhaut fan N0: 06 | FN-EX06 | 1 | 2
Exhaut fan N0: 07 | FN-EX07 | 1 | 2
Exhaut fan N0: 08 | FN-EX08 | 1 | 2
Exhaut fan N0: 24 | FN-EX24 | 1 | 2
Exhaut fan N0: 25 | FN-EX25 | 1 | 2
Exhaut fan N0: 26 | FN-EX26 | 1 | 2
Exhaut fan N0: 27 | FN-EX27 | 1 | 2
Exhaut fan N0: 28 | FN-EX28 | 1 | 2
Exhaut fan N0: 29 | FN-EX29 | 1 | 2
Exhaut fan N0: 30 | FN-EX30 | 1 | 2
Exhaut fan N0: 31 | FN-EX31 | 1 | 2
Exhaut fan N0: 32 | FN-EX32 | 1 | 2
Exhaut fan N0: 47 | FN-EX47 | 1 | 2
Exhaut fan N0: 48 | FN-EX48 | 1 | 2
Exhaut fan N0: 49 | FN-EX49 | 1 | 2
Exhaut fan N0: 51 | FN-EX51 | 1 | 2
Exhaut fan N0: 52 | FN-EX52 |  | 2
Exhaut fan N0: 53 | FN-EX53 |  | 2
Exhaut fan N0: 54 | FN-EX54 |  | 2
Exhaut fan N0: 55 | FN-EX55 |  | 2
Exhaut fan N0: 57 | FN-EX57 | 1 | 2
Exhaut fan N0: 58 | FN-EX58 | 1 | 2
Exhaut fan N0: 59 | FN-EX59 | 1 | 2
Exhaut fan N0: 113 | FN-EX113 | 2 | 2
Exhaut fan N0: 114 | FN-EX114 | 1 | 2
Exhaut fan N0: 115 | FN-EX115 | 1 | 2
Exhaut fan N0: 116 | FN-EX116 | 1 | 2
Exhaut fan N0: 117 | FN-EX117 | 1 | 2
Exhaut fan N0: 118 | FN-EX118 | 1 | 2
Exhaut fan N0: 119 | FN-EX119 | 1 | 2
Exhaut fan N0: 120 | FN-EX120 | 1 | 2
Exhaut fan N0: 121 | FN-EX121 | 1 | 2
Exhaut fan N0: 122 | FN-EX122 | 1 | 2
Exhaut fan N0: 123 | FN-EX123 | 1 | 2
Exhaut fan N0: 124 | FN-EX124 | 1 | 2
Exhaut fan N0: 125 | FN-EX125 | 1 | 2
Exhaut fan N0: 126 | FN-EX126 | 1 | 2
Exhaut fan N0: 127 | FN-EX127 | 1 | 2
Exhaut fan N0: 128 | FN-EX128 | 1 | 2
Exhaut fan N0: 129 | FN-EX129 | 1 | 2
F&M Ceiling fan | FN-CF3 | 1 | 2
F&M Ceiling fan | FN-CF4 | 1 | 2
F&M Ceiling fan | FN-CF5 | 1 | 2
Canteen Ceiling fan | FN-CF6 | 1 | 2
Canteen Ceiling fan | FN-CF7 | 1 | 2
Canteen Ceiling fan | FN-CF8 | 1 | 2
Canteen Ceiling fan | FN-CF9 | 1 | 2
Canteen Ceiling fan | FN-CF10 | 1 | 2
Canteen Ceiling fan | FN-CF11 | 1 | 2
Canteen Ceiling fan | FN-CF12 | 1 | 2
Canteen Ceiling fan | FN-CF13 | 1 | 2
Canteen Ceiling fan | FN-CF14 | 1 | 2
Canteen Ceiling fan | FN-CF15 | 1 | 2
Canteen Ceiling fan | FN-CF16 | 1 | 2
Canteen Ceiling fan | FN-CF17 | 1 | 2
Canteen Ceiling fan | FN-CF18 | 1 | 2
Canteen Ceiling fan | FN-CF19 | 1 | 2
Canteen Ceiling fan | FN-CF20 | 1 | 2
Canteen Ceiling fan | FN-CF21 | 1 | 2
Canteen Ceiling fan | FN-CF22 | 1 | 2
Canteen Ceiling fan | FN-CF23 | 1 | 2
Canteen Ceiling fan | FN-CF24 | 1 | 2
Canteen Ceiling fan | FN-CF25 | 1 | 2
Canteen Ceiling fan | FN-CF26 | 1 | 2
Canteen Ceiling fan | FN-CF27 | 1 | 2
Canteen Ceiling fan | FN-CF28 | 1 | 2
Canteen Ceiling fan | FN-CF29 | 1 | 2
Canteen Ceiling fan | FN-CF30 | 1 | 2
Canteen Ceiling fan | FN-CF31 | 1 | 2
Canteen Ceiling fan | FN-CF32 | 1 | 2
HVLF Ceiling Fan | FN-HVLF1 | 1 | 2
HVLF Ceiling Fan | FN-HVLF2 | 1 | 2
HVLF Ceiling Fan | FN-HVLF3 | 1 | 2
HVLF Ceiling Fan | FN-HVLF4 | 1 | 2
HVLF Ceiling Fan | FN-HVLF5 | 1 | 2
Container fan -N0:01 | FN-BF01 | 1 | 2
Container fan -N0:02 | FN-BF02 | 1 | 2
Container fan -N0:03 | FN-BF03 | 1 | 2
Container fan -N0:04 | FN-BF04 | 1 | 2
Container fan -N0:05 | FN-BF05 | 1 | 2
Container fan -N0:06 | FN-BF06 | 1 | 2
Container fan -N0:07 | FN-BF07 | 1 | 2
Container fan -N0:08 | FN-BF08 | 1 | 2
Container fan -N0:09 | FN-BF09 | 1 | 2
Container fan -N0:10 | FN-BF10 | 1 | 2
Container fan -N0:11 | FN-BF11 | 1 | 2
Container fan -N0:12 | FN-BF12 | 1 | 2
Container fan -N0:13 | FN-BF13 | 1 | 2
Wall fan | FN-WF07 | 1 | 2
Wall fan | FN-WF08 | 1 | 2
wall fan | FN-WF09 | 1 | 2
Wall fan | FN-WF10 | 1 | 2
Wall fan | FN-WF11 | 1 | 2
Wall fan | FN-WF12 | 1 | 2
Wall fan | FN-WF13 | 5 | 2
Wall fan | FN-WF14 | 2 | 2
Wall fan | FN-WF15 | 4 | 2
Wall fan | FN-WF16 | 1 | 2
Wall fan | FN-WF17 | 5 | 2
Wall fan | FN-WF18 | 1 | 2
Wall fan | FN-WF19 | 2 | 2
Wall fan | FN-WF20 | 2 | 2
Wall fan | FN-WF21 | 1 | 2
Wall fan | FN-WF22 | 1 | 2
Wall fan | FN-WF23 | 1 | 2
Wall fan | FN-WF24 | 1 | 2
Wall fan | FN-WF25 | 1 | 2
Wall fan | FN-WF26 | 1 | 2
Wall fan | FN-WF27 | 1 | 2
Wall fan | FN-WF28 | 1 | 2
Wall fan | FN-WF29 | 1 | 2
Wall fan | FN-WF30 | 1 | 2
Wall fan | FN-WF31 | 2 | 2
Wall fan | FN-WF32 | 1 | 2
Wall fan | FN-WF33 | 1 | 2
Wall fan | FN-WF34 | 2 | 2
Wall fan | FN-WF35 | 2 | 2
Wall fan | FN-WF36 | 2 | 2
Wall fan | FN-WF37 | 1 | 2
Wall fan | FN-WF38 | 1 | 2
Wall fan | FN-WF39 | 2 | 2
Wall fan | FN-WF40 | 2 | 2
Wall fan | FN-WF41 | 1 | 2
Wall fan | FN-WF42 | 1 | 2
Wall fan | FN-WF43 | 1 | 2
Wall fan | FN-WF44 | 1 | 2
Wall fan | FN-WF45 | 1 | 2
Wall fan | FN-WF46 | 1 | 2
Wall fan | FN-WF47 | 1 | 2
Wall fan | FN-WF48 | 1 | 2
Wall fan | FN-WF49 | 1 | 2
Wall fan | FN-WF50 | 1 | 2
Wall fan | FN-WF51 | 1 | 2
Wall fan | FN-WF52 | 1 | 2
Wall fan | FN-WF53 | 1 | 2
Wall fan | FN-WF54 | 1 | 2
Wall fan | FN-WF55 | 1 | 2
Wall fan | FN-WF56 | 1 | 2
Wall fan | FN-WF57 | 1 | 2
Wall fan | FN-WF58 | 1 | 2
Wall fan | FN-WF59 | 1 | 2
Wall fan | FN-WF60 | 1 | 2
Wall fan | FN-WF61 | 1 | 2
Wall fan | FN-WF62 | 3 | 2
Wall fan | FN-WF63 | 2 | 2
Wall fan | FN-WF64 | 2 | 2
Wall fan | FN-WF65 | 1 | 2
Wall fan | FN-WF66 | 1 | 2
Wall fan | FN-WF67 | 1 | 2
Wall fan | FN-WF68 | 1 | 2
Wall fan | FN-WF69 | 1 | 2
Wall fan | FN-WF70 | 1 | 2
Wall fan | FN-WF71 | 1 | 2
Wall fan | FN-WF72 | 1 | 2
Wall fan | FN-WF73 | 4 | 2
Wall fan | FN-WF74 | 2 | 2
Wall fan | FN-WF75 | 1 | 2
Wall fan | FN-WF76 | 1 | 2
Wall fan | FN-WF77 | 1 | 2
Wall fan | FN-WF78 | 1 | 2
Wall fan | FN-WF79 | 1 | 2
Wall fan | FN-WF80 | 1 | 2
wall fan | FN-WF83 | 1 | 2
wall fan | FN-WF84 | 1 | 2
wall fan | FN-WF85 | 1 | 2
wall fan | FN-WF86 | 1 | 2
wall fan | FN-WF87 | 1 | 2
wall fan | FN-WF88 | 1 | 2
wall fan | FN-WF89 | 1 | 2
wall fan | FN-WF90 | 1 | 2
wall fan | FN-WF91 | 1 | 2
wall fan | FN-WF92 | 1 | 2
wall fan | FN-WF93 | 1 | 2
wall fan | FN-WF94 | 1 | 2
wall fan | FN-WF95 | 1 | 2
wall fan | FN-WF96 | 1 | 2
wall fan | FN-WF97 | 1 | 2
wall fan | FN-WF98 | 1 | 2
Water Fan | FN-HF1÷6 | 6 | 2
Water Fan | FN-HF7÷9 | 3 | 2
Water Fan | FN-HF10÷12 | 3 | 2
Water Fan | FN-HF13÷14 | 2 | 2
Water Fan | FN-HF15÷31 | 17 | 2
Fan Of Air Filter | FN-BF1÷7 | 7 | 2
Cylone Fan | FN-CF | 1 | 2
Packing table | PR-PKT1÷17 | 17 | 2
.Packing table | PR-PKT18÷43 | 26 | 2
Conveyor | PR-CON1÷17 | 17 | 2
Conveyor | PR-CON18÷43 | 26 | 2
Casing table | PR-CST1÷17 | 17 | 2
Casing table | PR-CST18÷43 | 26 | 2
QC table | PR-QCT1÷17 | 17 | 2
QC table | PR-QCT18÷43 | 26 | 2
Elastic Shelf | PR-ES1÷17 | 17 | 2
Elastic Shelf | PR-ES18÷43 | 26 | 2
Supervisor cabinets | PR-SC1÷17 | 17 | 2
Supervisor cabinets | PR-SC18÷43 | 26 | 2
Check & Clean Trumking- Phubai3 + Ti treo toàn bộ các hệ có treo | LE-TRUM3 | 1 | 2
Cirl cutting machine | OT-CUT01 | 1 | 2
Elastic cutting machine | OT-CUT02 | 1 | 2
Vegetable cutter SIRMAN | CT-VC1 | 1 | 2
Vegetable cutter SIRMAN | CT-VC2 | 1 | 2
Meat grinder SIRMAN | CT-MC1 | 1 | 2
Meat grinder SIRMAN | CT-MC2 | 1 | 2
Meat grinder ZQ 180 | CT-MC2 | 1 | 2
Meat grinder ZQ 180 | CT-MC3 | 1 | 2
Exhaust hood filter( 3.7m) 01 | CT-EHF1 | 1 | 2
Exhaust hood filter( 3.7m) 02 | CT-EHF2 | 1 | 2
Exhaust hood filter( 3.7m) 03 | CT-EHF3 | 1 | 2
Exhaust hood filter( 3.7m) 04 | CT-EHF4 | 1 | 2
Dry and sterilize cabinet | CT-DSC1 | 1 | 2
Dry and sterilize cabinet | CT-DSC2 | 1 | 2
Dry and sterilize cabinet | CT-DSC3 | 1 | 2
Dry and sterilize cabinet | CT-DSC4 | 1 | 2
Steam rice cabinet( 100Kg) 01 | CT-SC1 | 1 | 2
Steam rice cabinet( 100Kg) 02 | CT-SC2 | 1 | 2
Steam rice cabinet( 100Kg) 03 | CT-SC3 | 1 | 2
Steam rice cabinet( 100Kg) 04 | CT-SC4 | 1 | 2
Steam rice cabinet( 100Kg) 05 | CT-SC5 | 1 | 2
Steam rice cabinet( 100Kg) 06 | CT-SC6 | 1 | 2
Steam rice cabinet( 50Kg) 01 | CT-SC7 | 1 | 2
Steam rice cabinet( 50Kg) 02 | CT-SC8 | 1 | 2
Load tranfer cart | CT-LTC1 | 1 | 2
Load tranfer cart | CT-LTC2 | 1 | 2
Load tranfer cart | CT-LTC3 | 1 | 2
Dist cart | CT-DC1 | 1 | 2
Dist cart | CT-DC2 | 1 | 2
Tank cart for dirty dishs | CT-TC1 | 1 | 2
Tank cart for dirty dishs | CT-TC2 | 1 | 2
Tank cart for dirty dishs | CT-TC3 | 1 | 2
Tank cart for dirty dishs | CT-TC4 | 1 | 2
Tank cart for dirty dishs | CT-TC5 | 1 | 2
Tank cart for dirty dishs | CT-TC6 | 1 | 2
Tank cart for dirty dishs | CT-TC7 | 1 | 2
Tank cart for dirty dishs | CT-TC8 | 1 | 2
Tank cart for dirty dishs | CT-TC9 | 1 | 2
Single Sink table 01 | CT-ST1 | 1 | 2
Single Sink table 02 | CT-ST2 | 1 | 2
Single Sink table 03 | CT-ST3 | 1 | 2
Single Sink table 04 | CT-ST4 | 1 | 2
Double Sink table 01 | CT-DST1 | 1 | 2
Double Sink table 02 | CT-DST2 | 1 | 2
Double Sink table 03 | CT-DST3 | 1 | 2
Double Sink table 04 | CT-DST4 | 1 | 2
Double Sink table 05 | CT-DST5 | 1 | 2
Triple sink table 01 | CT-TT01 | 1 | 2
Double gas kwailie range | CT-DGK01 | 1 | 2
Double gas kwailie range | CT-DGK02 | 1 | 2
Double gas kwailie range | CT-DGK03 | 1 | 2
Double gas kwailie range | CT-DGK04 | 1 | 2
Double gas kwailie range | CT-DGK05 | 1 | 2
Double gas kwailie range | CT-DGK06 | 1 | 2
Double gas kwailie range | CT-DGK07 | 1 | 2
Gas stock pot stove double bur | CT-DGS 1 | 1 | 2
Gas stock pot stove double bur | CT-DGS 2 | 1 | 2
Gas stock pot stove double bur | CT-DGS 3 | 1 | 2
Gas stock pot stove double bur | CT-DGS 4 | 1 | 2
Gas stock pot stove double bur | CT-DGS 5 | 1 | 2
Gas stock pot stove double bur | CT-DGS 6 | 1 | 2
Gas stock pot stove double bur | CT-DGS 7 | 1 | 2
Gas stock pot stove double bur | CT-DGS 8 | 1 | 2
Gas stock pot stove double bur | CT-DGS 9 | 1 | 2
Gas stock pot stove double bur | CT-DGS 10 | 1 | 2
Gas stock pot stove double bur | CT-DGS 11 | 1 | 2
Gas stock pot stove double bur | CT-DGS 12 | 1 | 2
Gas stock pot stove double bur | CT-DGS 13 | 1 | 2
Gas stock pot stove double bur | CT-DGS 14 | 1 | 2
Gas stock pot stove double bur | CT-DGS 15 | 1 | 2
Gas stock pot stove double bur | CT-DGS 16 | 1 | 2
Walk-in chiller | CT-WCH1 | 1 | 2
Walk-in freezer | CT-WFR1 | 1 | 2
Dishwashing machine | CT-DW01 | 1 | 2
Dishwashing machine Italia | CT-DW02 | 1 | 2
Water heat (boiler) | CT-BL01 | 1 | 2
Water heat (boiler) | CT-BL02 | 1 | 2
Water Dispenser01 | WS-WD1 | 1 | 2
Water Dispenser02 | WS-WD2 | 1 | 2
Water Dispenser03 | WS-WD3 | 1 | 2
Water Dispenser04 | WS-WD4 | 1 | 2
Water Dispenser05 | WS-WD5 | 1 | 2
Water Dispenser06 | WS-WD6 | 1 | 2
Water Dispenser07 | WS-WD7 | 1 | 2
Water Dispenser08 | WS-WD8 | 1 | 2
Water Dispenser09 | WS-WD9 | 1 | 2
Water Dispenser10 | WS-WD10 | 1 | 2
Water Dispenser11 | WS-WD11 | 1 | 2
Water Dispenser12 | WS-WD12 | 1 | 2
Water Dispenser13 | WS-WD13 | 1 | 2
Water Dispenser14 | WS-WD14 | 1 | 2
Water Dispenser15 | WS-WD15 | 1 | 2
Water Dispenser16 | WS-WD16 | 1 | 2
Water Dispenser17 | WS-WD17 | 1 | 2
Water Dispenser18 | WS-WD18 | 1 | 2
Water Dispenser19 | WS-WD19 | 1 | 2
Water Dispenser20 | WS-WD20 | 1 | 2
Water Dispenser21 | WS-WD21 | 1 | 2
Water Dispenser22 | WS-WD22 | 1 | 2
Water Dispenser23 | WS-WD23 | 1 | 2
Water Dispenser24 | WS-WD24 | 1 | 2
Water Dispenser25 | WS-WD25 | 1 | 2
Water Dispenser26 | WS-WD26 | 1 | 2
Water Dispenser27 | WS-WD27 | 1 | 2
Water Dispenser28 | WS-WD28 | 1 | 2
Water Dispenser29 | WS-WD29 | 1 | 2
Water Dispenser30 | WS-WD30 | 1 | 2
Water Dispenser31 | WS-WD31 | 1 | 2
refrigerator | AC-RE1 | 1 | 2
refrigerator | AC-RE2 | 1 | 2
refrigerator | AC-RE3 | 1 | 2
refrigerator | AC-RE4 | 1 | 2
refrigerator | AC-RE5 | 1 | 2
refrigerator | AC-RE6 | 1 | 2
refrigerator | AC-RE7 | 1 | 2
Oven cabinet No:01 | CT-OC1 | 1 | 2
Oven cabinet No:02 | CT-OC2 | 1 | 2
Oven cabinet No:03 | CT-OC3 | 1 | 2
refrigerator | AC-RE8 | 1 | 2
refrigerator | AC-RE9 | 1 | 2
Oven cabinet No:03 | CT-OC4 | 1 | 2
Coffee machine | CT-COF | 1 | 2
Pest Light | LT-PL1÷10 | 10 | 2
vacuum Cleaner N0: 01 | CL-VC1 | 1 | 2
vacuum Cleaner N0: 02 | CL-VC2 | 1 | 2
vacuum Cleaner N0: 03 | CL-VC3 | 1 | 2
WATER GUN PUMP N0:01 | CL-WGP1 | 1 | 2
WATER GUN PUMP N0:02 | CL-WGP2 | 1 | 2
WATER GUN PUMP N0:03 | CL-WGP3 | 1 | 2
Hand grass cutting machine | CL-HGC1 | 1 | 2
Hand grass cutting machine | CL-HGC2 | 1 | 2
Hand grass cutting machine | CL-HGC3 | 1 | 2
Hand grass cutting machine | CL-HGC4 | 1 | 2
Grinding machine | FM-GRI1 | 1 | 2
Steel cutting machine | FM-STC1 | 1 | 2
Steel cutting machine | FM-STC2 | 1 | 2
Drilling machine | FM-DRI1 | 1 | 2
Welding machine | FM-WEL1 | 1 | 2
Welding machine | FM-WEL2 | 1 | 2
Welding machine | FM-WEL3 | 1 | 2
GATE MOTOR | SC-GATE1 | 1 | 2
GATE MOTOR | SC-GATE2 | 1 | 2
GATE MOTOR | SC-GATE3 | 1 | 2
Người Lập:
Người Duyệt
Lê Như Vũ
Note on A3: Author: (Máy nén khí 1 )
Note on A4: Author: Thay bien tan ABB install: 4/2015 (Máy nén khí 2 )
Note on A85: Author: Tháo chuyển về phòng Đa Năng mới
Note on A99: Author: Phòng họp mới
Note on A103: Author: máy lạnh Daikin FTKS25GVMV/ RKS25GVMV Install; T4/2019
Note on A111: Author: chuyển từ phòng Chị Lê về phòng FM
Note on A121: Nguyen, Tuan: tháo nguồn máy ngày 21/05/2020
Note on A130: Author: Tháo ở xưởng PB2 chuyển qua
Note on A177: Author: Chuyển đổi nguồn lấy từ tủ phòng máy nén khí PB1
Note on A213: Author: đo điều hòa mezzanine
Note on A265: Author: cấp nguồn điều hòa trung tâm
Note on A266: Author: cấp nguồn máy nén khí
Note on A267: Author: Cấp nguồn bơm chữa cháy
Note on A268: Author: Cấp nguồn bơm nước cấp
Note on A269: Author: Cấp nguồn bơm nước sân vườn
Note on A271: Author: cấp nguồn bơm nước thải hầm trung gian
Note on A304: nhat.ton: khong dung
Note on A305: Author: control lighting in warehouse
Note on A306: Author: Control lighting in warehouse
Note on A357: Author: chưa có tên trên tủ
Note on A359: Author: chưa có tên trên tủ
Note on A360: Author: chưa có tên trên tủ
Note on A370: Author: to DB Fan3
Note on A372: Author: to DB Fan3
Note on A391: Author: bàn nâng vải thủy lực
Note on A438: Author: IT generator
Note on A451: Author: HỦY
Note on A454: Author: loc tinh
Note on A455: Author: loc Ro
Note on A456: Author: Loc tho
Note on A459: Author: lọc thô
Note on A491: ton that kim nhat: (Thoát nước thải)
Note on J583: Author: Quý 4 tháng, năm 3 lần
Note on J584: Author: Quý 4 tháng, năm 3 lần
Note on J585: Author: Quý 4 tháng, năm 3 lần
Note on J586: Author: Quý 4 tháng, năm 3 lần
Note on J587: Author: Quý 4 tháng, năm 3 lần
Note on J588: Author: Quý 4 tháng, năm 3 lần
Note on J589: Author: Quý 4 tháng, năm 3 lần
Note on J590: Author: Quý 4 tháng, năm 3 lần
Note on J591: Author: Quý 4 tháng, năm 3 lần
Note on J592: Author: Quý 4 tháng, năm 3 lần
Note on J593: Author: Quý 4 tháng, năm 3 lần
Note on J594: Author: Quý 4 tháng, năm 3 lần
Note on J595: Author: Quý 4 tháng, năm 3 lần
Note on J596: Author: Quý 4 tháng, năm 3 lần
Note on J597: Author: Quý 4 tháng, năm 3 lần
Note on J598: Author: Quý 4 tháng, năm 3 lần
Note on J599: Author: Quý 4 tháng, năm 3 lần
Note on J600: Author: Quý 4 tháng, năm 3 lần
Note on J601: Author: Quý 4 tháng, năm 3 lần
Note on J602: Author: Quý 4 tháng, năm 3 lần
Note on J603: Author: Quý 4 tháng, năm 3 lần
Note on J604: Author: Quý 4 tháng, năm 3 lần
Note on J605: Author: Quý 4 tháng, năm 3 lần
Note on J606: Author: Quý 4 tháng, năm 3 lần
Note on J607: Author: Quý 4 tháng, năm 3 lần
Note on J608: Author: Quý 4 tháng, năm 3 lần
Note on J609: Author: Quý 4 tháng, năm 3 lần
Note on J610: Author: Quý 4 tháng, năm 3 lần
Note on J611: Author: Quý 4 tháng, năm 3 lần
Note on J612: Author: Quý 4 tháng, năm 3 lần
Note on J613: Author: Quý 4 tháng, năm 3 lần
Note on J614: Author: Quý 4 tháng, năm 3 lần
Note on J615: Author: Quý 4 tháng, năm 3 lần
Note on J616: Author: Quý 4 tháng, năm 3 lần
Note on J617: Author: Quý 4 tháng, năm 3 lần
Note on J618: Author: Quý 4 tháng, năm 3 lần
Note on J619: Author: Quý 4 tháng, năm 3 lần
Note on J620: Author: Quý 4 tháng, năm 3 lần
Note on J621: Author: Quý 4 tháng, năm 3 lần
Note on B624: Author: Camera giám sát khu vực ăn canteen
Note on J627: Author: Quý 4 tháng, năm 3 lần
Note on J628: Author: Quý 4 tháng, năm 3 lần
Note on J629: Author: Quý 4 tháng, năm 3 lần
Note on J630: Author: Quý 4 tháng, năm 3 lần
Note on J631: Author: Quý 4 tháng, năm 3 lần
Note on J632: Author: Quý 4 tháng, năm 3 lần
Note on J633: Author: Quý 4 tháng, năm 3 lần
Note on J634: Author: Quý 4 tháng, năm 3 lần
Note on J635: Author: Quý 4 tháng, năm 3 lần
Note on J636: Author: Quý 4 tháng, năm 3 lần
Note on J637: Author: Quý 4 tháng, năm 3 lần
Note on J638: Author: Quý 4 tháng, năm 3 lần
Note on J639: Author: Quý 4 tháng, năm 3 lần
Note on J640: Author: Quý 4 tháng, năm 3 lần
Note on J641: Author: Quý 4 tháng, năm 3 lần
Note on J642: Author: Quý 4 tháng, năm 3 lần
Note on J643: Author: Quý 4 tháng, năm 3 lần
Note on J644: Author: Quý 4 tháng, năm 3 lần
Note on J645: Author: Quý 4 tháng, năm 3 lần
Note on J646: Author: Quý 4 tháng, năm 3 lần
Note on J647: Author: Quý 4 tháng, năm 3 lần
Note on J648: Author: Quý 4 tháng, năm 3 lần
Note on J649: Author: Quý 4 tháng, năm 3 lần
Note on J650: Author: Quý 4 tháng, năm 3 lần
Note on J651: Author: Quý 4 tháng, năm 3 lần
Note on J652: Author: Quý 4 tháng, năm 3 lần
Note on J653: Author: Quý 4 tháng, năm 3 lần
Note on J654: Author: Quý 4 tháng, năm 3 lần
Note on J655: Author: Quý 4 tháng, năm 3 lần
Note on J656: Author: Quý 4 tháng, năm 3 lần
Note on J657: Author: Quý 4 tháng, năm 3 lần
Note on J658: Author: Quý 4 tháng, năm 3 lần
Note on J659: Author: Quý 4 tháng, năm 3 lần
Note on J660: Author: Quý 4 tháng, năm 3 lần
Note on J661: Author: Quý 4 tháng, năm 3 lần
Note on J662: Author: Quý 4 tháng, năm 3 lần
Note on J663: Author: Quý 4 tháng, năm 3 lần
Note on B665: Author: Camera giám sát
Note on B667: Author: camera giám sát- màn hình treo ở VP kho
Note on J669: Author: Quý 4 tháng, năm 3 lần
Note on J670: Author: Quý 4 tháng, năm 3 lần
Note on J671: Author: Quý 4 tháng, năm 3 lần
Note on J672: Author: Quý 4 tháng, năm 3 lần
Note on J673: Author: Quý 4 tháng, năm 3 lần
Note on J674: Author: Quý 4 tháng, năm 3 lần
Note on J675: Author: Quý 4 tháng, năm 3 lần
Note on J676: Author: Quý 4 tháng, năm 3 lần
Note on J677: Author: Quý 4 tháng, năm 3 lần
Note on J678: Author: Quý 4 tháng, năm 3 lần
Note on J679: Author: Quý 4 tháng, năm 3 lần
Note on J680: Author: Quý 4 tháng, năm 3 lần
Note on J681: Author: Quý 4 tháng, năm 3 lần
Note on J682: Author: Quý 4 tháng, năm 3 lần
Note on J683: Author: Quý 4 tháng, năm 3 lần
Note on J684: Author: Quý 4 tháng, năm 3 lần
Note on J685: Author: Quý 4 tháng, năm 3 lần
Note on J686: Author: Quý 4 tháng, năm 3 lần
Note on J687: Author: Quý 4 tháng, năm 3 lần
Note on J688: Author: Quý 4 tháng, năm 3 lần
Note on J689: Author: Quý 4 tháng, năm 3 lần
Note on J690: Author: Quý 4 tháng, năm 3 lần
Note on J691: Author: Quý 4 tháng, năm 3 lần
Note on J692: Author: Quý 4 tháng, năm 3 lần
Note on J693: Author: Quý 4 tháng, năm 3 lần
Note on J694: Author: Quý 4 tháng, năm 3 lần
Note on J695: Author: Quý 4 tháng, năm 3 lần
Note on F715: Author: 2 TUẦN CHÂM NƯỚC CẤT
Note on J715: Author: Vendor thực hiện quý 4 tháng
Note on A716: Author: thay binh dien t4/2016
Note on F716: Author: 2 TUẦN CHÂM NƯỚC CẤT
Note on J716: Author: Vendor thực hiện quý 4 tháng
Note on A717: Author: thay bình điện 1/2018
Note on F717: Author: 2 TUẦN CHÂM NƯỚC CẤT
Note on J717: Author: Vendor thực hiện quý 4 tháng
Note on F718: Author: 2 TUẦN CHÂM NƯỚC CẤT
Note on J718: Author: Vendor thực hiện quý 4 tháng
Note on F719: Author: 2 TUẦN CHÂM NƯỚC CẤT
Note on J719: Author: Vendor thực hiện quý 4 tháng
Note on F720: Author: 2 TUẦN CHÂM NƯỚC CẤT
Note on J720: Author: Vendor thực hiện quý 4 tháng
Note on F721: Author: 2 TUẦN CHÂM NƯỚC CẤT
Note on J721: Author: Vendor thực hiện quý 4 tháng
Note on F722: Author: 2 TUẦN CHÂM NƯỚC CẤT
Note on J722: Author: Vendor thực hiện quý 4 tháng
Note on F723: Author: 2 TUẦN CHÂM NƯỚC CẤT
Note on F725: Author: 2 TUẦN CHÂM NƯỚC CẤT
Note on J725: Author: Vendor thực hiện quý 4 tháng
Note on F726: Author: 2 TUẦN CHÂM NƯỚC CẤT
Note on J726: Author: Vendor thực hiện quý 4 tháng
Note on F727: Author: 2 TUẦN CHÂM NƯỚC CẤT
Note on J727: Author: Vendor thực hiện quý 4 tháng
Note on A728: Author: date: 21/4/14 move day sac ac qui
Note on F728: Author: 2 TUẦN CHÂM NƯỚC CẤT
Note on J728: Author: Vendor thực hiện quý 4 tháng
Note on F729: Author: 2 TUẦN CHÂM NƯỚC CẤT
Note on J729: Author: Vendor thực hiện quý 4 tháng
Note on F730: Author: 2 TUẦN CHÂM NƯỚC CẤT
Note on J730: Author: Vendor thực hiện quý 4 tháng
Note on F731: Author: 2 TUẦN CHÂM NƯỚC CẤT
Note on J731: Author: Vendor thực hiện quý 4 tháng
Note on F732: Author: 2 TUẦN CHÂM NƯỚC CẤT
Note on J732: Author: Vendor thực hiện quý 4 tháng
Note on F733: Author: 2 TUẦN CHÂM NƯỚC CẤT
Note on J733: Author: Vendor thực hiện quý 4 tháng
Note on A735: Author: xe nâng tay điện
Note on A896: Author: Description: Needles detector machine Model: HN770G-100 Cosnumption: 250w No:00811 date: 7-2011
Note on A897: Author: Description: washing machine Model: 3XWTW5705SW Cosnumption:750w No:phubai MTN M 001 date:7/2009
Note on A898: Author: Description: washing machine Model: 3XWTW5705SW Cosnumption:750w No:phubai MTN M 002 date:11/2010
Note on A899: Author: Description: washing machine Model: Toshiba 13kg Cosnumption:450w No:phubai MTN M 001 date:10/2011
Note on A900: Author: Description: washing machine Model: 3XWTW5705SW Cosnumption:750w No:phubai MTN M 001 date:10/2011
Note on A901: Author: dabao: Description: Dryer machine Model: 3XWTW5705SW-whilporl Cosnumption:2500w No:02 date:10/2013
Note on A903: Author: No:01 date:10/2008Model: 3XWED5705SW * 230Volt 50Hz Top Load Washer * 10.5Kg Capacity * 2 Motor Speed * 7 Cycle * Rotary Knobs * 650Watts. * Platform: Leak 27" large capacity. * 42.5”H x 27”W x 25.5”D * Original place: USA
Note on A904: Author: dabao: Description: Dryer machine Model: 3XWTW5705SW-whilporl Cosnumption:2500w No:02 date:10/2009
Note on A905: Author: dabao: Description: Dryer machine Model: EDV 705 elutrolux Cosnumption:2500w No:03 date:10/2011 Location:zone1
Note on A906: Author: Description: Dryer machine Model: EDV 705sensor Cosnumption:2250 No:05 date:5/2012 location: lab room
Note on A907: Author: dabao: Description: Dryer machine Model: 3XWTW5705SW-whilporl Cosnumption:2500w No:05 date:10/2013
Note on A910: Author: Description: Spray machine Model: OKUMAR Cosnumption:1.1Kw No:01 date:10/2009 Location:zone1
Note on A911: Author: Description: Spray machine Model: OKUMAR Cosnumption:1.1Kw No:02 date:10/2010 Location: PHUBAI2
Note on A912: Author: Description: Spray machine Model: OKUMAR Cosnumption:1.1Kw No:03 date:10/2011 Location:PHUBAI2
Note on A914: Author: máy ủi hơi
Note on A1191: ton that kim nhat: bep cao
Note on A1198: ton that kim nhat: bep thấp
Note on A1269: Author: Heavy Duty cleaner Densin C-110E (súng bắn nước áp lực cao)