## MC_IN_U
| TÊN THIẾT BỊ | TÊN CŨ | LOẠI THIẾT BỊ | NHÀ MÁY | VỊ TRÍ | MODEL | TRẠNG THÁI | HỆ THỐNG | MÔ TẢ | SỐ SERI | THỜI GIAN BẮT ĐẦU | THỜI GIAN KẾT THÚC | THỜI GIAN CẬP NHẬT | NGƯỜI CẬP NHẬT | ẢNH
1 | Air-comp roompressor | CO-M05 | AC-DC | PB2 | PB2 Air-comp room | GA 90VSD |  |  |  | API 658150 | 2010 |  | 2021-07-29 10:34 |  | ./public/img_mac/noimg.png
2 | AC-AD-01 | AC1-AD01 | AC-AD | PB1 | PB1 Inside Workshop | nan | nan |  |  | nan | 2008 | nan | 2021-07-27 13:31 | ngmai1 | ./public/img_mac/noimg.png
3 | AC-AD-02 | AC2-AD01 | AC-AD | PB2 | PB2 Inside Workshop | AXIAL FAN |  | anh nhật |  |  | 2010 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
4 | AC-AD-03 | AC2-AD02 | AC-AD | PB2 | PB2 Canteen |  | demage |  |  |  | 2000 | 2000 | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
5 | AC-CT-02 | AC1-CTVRV2 | AC-CT | PB1 | PB1 in gaden near Oil tank | TASHIN/FRK40, motor: Dongguan type 100-6 |  |  |  |  | 2019 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
6 | AC-CT-04 | AC1-CTVRV4 | AC-CT | PB1 | PB1 in gaden near Oil tank | RINKI/FRK40, motor: Dongguan type 100-6 |  |  |  |  | 2019 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
7 | AC-CT-06 | AC1-CTVRV6 | AC-CT | PB1 | PB1 in gaden near Oil tank | TASHIN/FRK40, motor: Dongguan type 100-6 |  |  |  |  | 2019 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
8 | AC-CT-08 | AC1-CTVRV8 | AC-CT | PB1 | PB1 in gaden near Oil tank | TASHIN/FRK40, motor: Dongguan type 100-6 |  |  |  |  | 2019 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
9 | AC-CT-10 | AC1-CTVRV10 | AC-CT | PB1 | PB1 in gaden near Oil tank | TASHIN/FRK40, motor: Dongguan type 100-6 |  |  |  |  | 2019 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
10 | AC-DC-01 | AC1-DDC01 | AC-DC | PB1 | PB1 Workshop Floor-Zone 2 | Siemems/ Siemems 1200 |  |  |  |  | 2017 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
11 | AC-DC-02 | AC2-DDC01 | AC-DC | PB2 | PB2 Inside Workshop | Honywheel/VLC1188 |  |  |  |  | 2010 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
12 | AC-DC-03 | AC2-DDC02 | AC-DC | PB2 | PB2 Canteen | Honywheel/VLC1188 | [5 empty] | 2000 | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
13 | AC-DC-04 | AC2-DDC03 | AC-DC | PB2 | PB2 Canteen | Honywheel/VLC1188 | [5 empty] | 2000 | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
14 | AC-DC-05 | AC2-DDC04 | AC-DC | PB2 | PB2 Canteen | Honywheel/VLC1188 | [5 empty] | 2000 | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
15 | AC-DC-06 | AC2-DDC05 | AC-DC | PB2 | PB2 Canteen | Honywheel/VLC1188 | [5 empty] | 2000 | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
16 | AC-EX-01 | AC1-EX01 | AC-EX | PB1 | PB1 Outside | AXIAL FAN/EAF-1 - Inverter |  |  |  |  | 2008 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
17 | AC-EX-02 | AC1-EX02 | AC-EX | PB1 | PB1 Outside | AXIAL FAN/SAF-1 - Inverter |  |  |  |  | 2008 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
18 | AC-HW-01 | AC1-HW01 | AC-HW | PB1 | PB1 Outside | DRI-INDIA/HRN- 2600 |  |  |  |  | 2008 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
19 | AC-PT-01 | AC1-WP05 | AC-PT | PB1 | PB1 in gaden near Oil tank | Varem/V: 50 Lít * P max: 8 bar * Tank: Inox 304 * Ruột bình: EPDM * Conector: 1 inch |  |  |  |  | 2019 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
20 | AC-SA-01 | AC1-SA01 | AC-SA | PB1 | PB1 Main Office-HR&FIN room | Daikin/RKC71TVMV/FKC71TVMV. | [5 empty] | 2000 | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
21 | AC-SA-02 | AC1-SA02 | AC-SA | PB1 | PB1 Main Office-HR&FIN room | TRANE-USA/TKK 524SB0EAA-24000BTU/H-910G R22 |  | Điều hòa |  | 3T0203 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/AC1-SA02.jpg
22 | AC-SA-03 | AC1-SA03 | AC-SA | PB1 | PB1 Main Office-HR&FIN room | TRANE-USA/TKK 524SB0EAA-24000BTU/H-910G R22 |  | Điều hòa |  | 3T0204 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
23 | AC-SA-04 | AC1-SA04 | AC-SA | PB1 | PB1 Main Office-HR&FIN room | TRANE-USA/TKK 524SB0EAA-24000BTU/H-910G R22 |  | Điều hòa |  | 3T0202 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
24 | AC-SA-05 | AC1-SA05 | AC-SA | PB1 | PB1 Main Office-corridor | TRANE-USA/TKK 524SB0EAA-24000BTU/H-910G R22 |  | ok |  |  |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
25 | AC-SA-06 | AC1-SA06 | AC-SA | PB1 | PB1 Main Office-Hanes room | Daikin/RKS71GVMV(28.300 btu/h ) |  |  |  | E000254 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
26 | AC-SA-07 | AC1-SA07 | AC-SA | PB1 | PB1 Main Office-Hanes room | Daikin/RKS71GVMV(28.300 btu/h ) |  |  |  | E000260 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
27 | AC-SA-08 | AC1-SA08 | AC-SA | PB1 | PB1 Main Office-Gear room | Daikin/RKS71GVMV(28.300 btu/h ) |  |  |  | E000288 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
28 | AC-SA-09 | AC1-SA09 | AC-SA | PB1 | PB1 Main Office-Wonderbra room | Daikin/RKS71GVMV(28.300 btu/h ) |  |  |  | E000289 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
29 | AC-SA-10 | AC1-SA10 | AC-SA | PB1 | PB1 Mezzanine | Daikin invecter/Daikin FCQ100KAVEA/RZR100MVMV | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
30 | AC-SA-11 | AC1-SA11 | AC-SA | PB1 | PB1 Mezzanine | Daikin invecter/Daikin FCQ100KAVEA/RZR100MVMV | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
31 | AC-SA-12 | AC1-SA12 | AC-SA | PB1 | PB1 Mezzanine | Daikin invecter/Daikin FCQ100KAVEA/RZR100MVMV | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
32 | AC-SA-13 | AC1-SA13 | AC-SA | PB1 | PB1 Mezzanine | Daikin invecter/Daikin FCQ100KAVEA/RZR100MVMV |  |  |  | 3T0411 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
33 | AC-SA-14 | AC1-SA14 | AC-SA | PB1 | PB1 Mezzanine IT room | Daikin invecter/FCFC100DVM/RZFC100DY1 |  |  |  | E001044/E000151 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
34 | AC-SA-15 | AC1-SA15 | AC-SA | PB1 | PB1 Mezzanine IT room | Daikin invecter/RZR71LVVM-FCQ71LUV1(24.000 btu/h ) | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
35 | AC-SA-16 | AC1-SA16 | AC-SA | PB1 | PB1 Mezzanine Leegss room | TRANE-USA/TKK 524SB0EAA-24000BTU/H-910G R22 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
36 | AC-SA-17 | AC1-SA17 | AC-SA | PB1 | PB1 Mezzanine Champion room | Daikin invecter/ FCQ71LUV1/RZR71LVVM, R410 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
37 | AC-SA-18 | AC1-SA18 | AC-SA | PB1 | PB1 Pad room | Daikin invecter/RKS71GVMV(28.300 btu/h ) |  |  |  | E007439 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
38 | AC-SA-19 | AC1-SA19 | AC-SA | PB1 | PB1 Pad room | Daikin/RKS25GVMV( 10.200 btu/h ) |  |  |  | E007473 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
39 | AC-SA-20 | AC1-SA20 | AC-SA | PB1 | PB1 Pad room | Daikin/RKS25GVMV( 10.200 btu/h ) |  |  |  | E008799 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
40 | AC-SA-21 | AC1-SA21 | AC-SA | PB1 | PB3 canteen room | TRANE-USA/TTK 536KB00GA |  |  |  | 3T1210-625091 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
41 | AC-SA-22 | AC1-SA22 | AC-SA | PB1 | PB1 Clinic | TRANE-USA/TTK048D00EA-48000BTU/H |  |  |  | 3T1107-800682 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
42 | AC-SA-23 | AC1-SA23 | AC-SA | PB1 | PB1 Clinic | Panasonic- Japan/CS-C9NKH-8 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
43 | AC-SA-24 | AC1-SA24 | AC-SA | PB1 | PB1 Warehouse Office- Zone3 | Daikin invecter/Daikin FTKS71GVMV/ RKS71GVMV /h R410 |  |  |  | 2102410030020 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
44 | AC-SA-25 | AC1-SA25 | AC-SA | PB1 | PB1 Innovaition room (new) | TRANE-USA/TTK060KD00EA |  |  |  | 3T0108-735632 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
45 | AC-SA-26 | AC1-SA26 | AC-SA | PB1 | PB1 Innovaition room (new) | TRANE-USA/TTK060KD00EA |  |  |  | 3T0108-735633 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
46 | AC-SA-27 | AC1-SA27 | AC-SA | PB1 | PB1 Production office | Daikin invecter/RZR71LVVM-FCQ71LUV1(24.000 btu/h ) | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
47 | AC-SA-28 | AC1-SA28 | AC-SA | PB1 | PB1 Production office | Daikin invecter/RZR71LVVM-FCQ71LUV1(24.000 btu/h ) | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
48 | AC-SA-29 | AC1-SA29 | AC-SA | PB1 | PB1 Production office | Daikin invecter/RZR71LVVM-FCQ71LUV1(24.000 btu/h ) | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
49 | AC-SA-30 | AC1-SA30 | AC-SA | PB1 | PB1 Main office | Daikin invecter/RZR71LVVM-FCQ71LUV1(24.000 btu/h ) |  |  |  | E002942/E003147 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
50 | AC-SA-31 | AC1-SA31 | AC-SA | PB1 | PB1 New Eplyoer corrner | TRANE-USA/TTK 536KDD00 |  |  |  | 3T01208-60149 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
51 | AC-SA-32 | AC1-SA32 | AC-SA | PB1 | PB1 New Eplyoer corrner | TRANE-USA/TTK 536KDD000GA |  |  |  | 3T01208-60154 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
52 | AC-SA-33 | AC1-SA33 | AC-SA | PB1 | PB1 Phòng họp mới PB1 | Daikin invecter/FCFC71DVM/ RZFC71DVM | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
53 | AC-SA-34 | AC2-SA13 | AC-SA | PB2 | PB2 FM Office | TRANE-USA/24000btu/h | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
54 | AC-SA-35 | AC2-SA1 | AC-SA | PB2 | PB2 Clinic | TRANE-USA/YSE24BA-OR2 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
55 | AC-SA-36 | AC2-SA2 | AC-SA | PB2 | PB2 FM Office | Daikin/RKS71GVMV(28.300 btu/h ) | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
56 | AC-SA-37 | AC2-SA3 | AC-SA | PB2 | PB2 Warehouse Office | Daikin invecter/Daikin:FCQ50LUV1/RZR50LUV, R410 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
57 | AC-SA-38 | AC2-SA4 | AC-SA | PB2 | PB2 Warehouse Office | Daikin invecter/Daikin:FCQ50LUV1/RZR50LUV, R410 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
58 | AC-SA-39 | AC2-SA5 | AC-SA | PB2 | PB2 Production office-Bali room | Daikin invecter/Daikin:FCQ71LUV1/RZR71LVVM, R410 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
59 | AC-SA-40 | AC2-SA6 | AC-SA | PB2 | PB2 Ritmo room | Daikin invecter/Daikin:FCQ71LUV1/RZR71LVVM, R410 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
60 | AC-SA-41 | AC2-SA7 | AC-SA | PB2 | PB2 Ritmo room | Daikin invecter/Daikin:FCQ71LUV1/RZR71LVVM, R410 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
61 | AC-SA-42 | AC2-SA8 | AC-SA | PB2 | PB2 Mec room | Daikin invecter/Daikin:FCQ71LUV1/RZR71LVVM, R410 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
62 | AC-SA-43 | AC2-SA9 | AC-SA | PB2 | PB2 Inovation room | Daikin invecter/Daikin:FCQ71LUV1/RZR71LVVM, R410 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
63 | AC-SA-44 | AC2-SA10 | AC-SA | PB2 | PB2 FM Office | York-Usa/YSB12BA/YSM12BA/12000BTUH | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
64 | AC-SA-45 | AC2-SA11 | AC-SA | PB2 | PB2 Canteen | Gree/9000BTUH | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
65 | AC-SA-46 | AC2-SA12 | AC-SA | PB2 | PB2 Canteen | York-Usa/YSB12BA/YSM12BA/12000BTUH | DEMAGE | [5 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
66 | AC-SA-47 | AC3-SA1 | AC-SA | PB3 | PB3 IT room | Daikin invecter/Daikin RNE25MV1V9/E438753 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
67 | AC-SA-48 | AC3-SA2 | AC-SA | PB3 | PB3 Production Office | Daikin invecter/Daikin RNQ36MY1/E004204 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
68 | AC-SA-49 | AC3-SA3 | AC-SA | PB3 | PB3 Production Office | Daikin invecter/Daikin RNQ36MY1/E003677 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
69 | AC-SA-50 | AC3-SA4 | AC-SA | PB3 | PB3 Production Office | Daikin invecter/Daikin RNQ36MY1/E004085 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
70 | AC-SA-51 | AC3-SA5 | AC-SA | PB3 | PB3 Production Office | Daikin invecter/ RNQ36MY1/E003919 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
71 | AC-SA-52 | AC3-SA6 | AC-SA | PB3 | PB3 Maker room | Daikin invecter/ RNE60MV1V/E016636 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
72 | AC-SA-53 | AC3-SA7 | AC-SA | PB3 | PB3 Maker room | Daikin invecter/ RNE50MV1V/E064223 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
73 | AC-SA-54 | AC3-SA8 | AC-SA | PB3 | PB3 Maker room | Daikin invecter/RNE50MV1V/E058126 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
74 | AC-SA-55 | AC3-SA9 | AC-SA | PB3 | PB3 MEC room | Daikin invecter/RNQ36MY1/ E003858 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
75 | AC-SA-56 | AC3-SA10 | AC-SA | PB3 | PB3 Warehouse Office | Daikin invecter/RNE60MV1V/ E016638 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
76 | AC-SA-57 | AC3-SA11 | AC-SA | PB3 | PB3 Warehouse Office | Daikin invecter/ FTKQ25SVMV/ E016638 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
77 | AC-SA-58 | AC3-SA12 | AC-SA | PB3 | PB3 canteen room | TRANE-USA/TTK536KB00GA |  |  |  | 3T01208-60150 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
78 | AC-VR-01 | AC1-VRV1 | AC-VR | PB1 | PB1 Outside | CARRIER-USA/AHU-44RR040V/CDU-38AE-040 |  |  |  | 44LK8739097/44LK8738152 | 2008 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
79 | AC-VR-02 | AC1-VRV2 | AC-VR | PB1 | PB1 Outside | CARRIER-USA/AHU-44RR040V/CDU-38AE-040/Water-cooled condenser : K1503H (Bitzer, Germany) Cooling tower : FRK40 (RINKI, Hong Kong) |  |  |  | 44LK87390101 | 2008/2019 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
80 | AC-VR-03 | AC1-VRV3 | AC-VR | PB1 | PB1 Outside | CARRIER-USA/AHU-44RR040V/CDU-38AE-040 |  |  |  | 44LK87390102/44LK8738148 | 2008 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
81 | AC-VR-04 | AC1-VRV4 | AC-VR | PB1 | PB1 Outside | CARRIER-USA/AHU-44RR040V/CDU-38AE-040/Water-cooled condenser : K1503H (Bitzer, Germany) Cooling tower : FRK40 (RINKI, Hong Kong) |  |  |  | 44LK87390101 | 2008/2019 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
82 | AC-VR-05 | AC1-VRV5 | AC-VR | PB1 | PB1 Outside | CARRIER-USA/AHU-44RR040V/CDU-38AE-040 |  |  |  | 44LK87390100/44LK8738155 | 2008 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
83 | AC-VR-06 | AC1-VRV6 | AC-VR | PB1 | PB1 Outside | CARRIER-USA/AHU-44RR040V/CDU-38AE-040/Water-cooled condenser : K1503H (Bitzer, Germany) Cooling tower : FRK40 (RINKI, Hong Kong) |  |  |  | 44LK87390101 | 2008/2019 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
84 | AC-VR-07 | AC1-VRV7 | AC-VR | PB1 | PB1 Outside | CARRIER-USA/AHU-44RR040V/CDU-38AE-040 |  |  |  | 44LK8739094/44LK87388157 | 2008 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
85 | AC-VR-08 | AC1-VRV8 | AC-VR | PB1 | PB1 Outside | CARRIER-USA/AHU-44RR040V/CDU-38AE-040/Water-cooled condenser : K1503H (Bitzer, Germany) Cooling tower : FRK40 (RINKI, Hong Kong) |  |  |  | 44LK87390101 | 2008/2019 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
86 | AC-VR-09 | AC1-VRV9 | AC-VR | PB1 | PB1 Outside | CARRIER-USA/AHU-44RR040V/CDU-38AE-040 |  |  |  | 44LK8739096/44LK87388153 | 2008 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
87 | AC-VR-10 | AC1-VRV10 | AC-VR | PB1 | PB1 Outside | CARRIER-USA/AHU-44RR040V/CDU-38AE-040/Water-cooled condenser : K1503H (Bitzer, Germany) Cooling tower : FRK40 (RINKI, Hong Kong) |  |  |  | 44LK87390101 | 2008/2019 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
88 | AC-VR-11 | AC1-VRV11 | AC-VR | PB1 | PB1 Outside | CARRIER-USA/40RBU040X-30RV/38ASU400S301 |  |  |  |  | 2018 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
89 | AC-VR-12 | AC1-VRV12 | AC-VR | PB1 | PB1 Outside | CARRIER-USA/40RBU040X-30RV/38ASU400S301 |  |  |  |  | 2018 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
90 | AC-VR-13 | AC1-VRV13 | AC-VR | PB1 | PB1 Outside | CARRIER-USA/40RBU025X-30RV/38ASU240S301 |  |  |  |  | 2018 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
91 | AC-VR-14 | AC2-VRV5 | AC-VR | PB3 | PB3 Production floor | TRANE-USA/ACU-TTV600-CDURAUP600/ 625000 BTU/h-183.18kw |  |  |  | 1M0210-00511 | 2010 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
92 | AC-VR-15 | AC2-VRV6 | AC-VR | PB2 | PB2 Outside | TRANE-USA/ACU-CLCP EURO 040-CDURAUP400/434000BTU/H-127.2KW |  |  |  | 1M0210-00601/ 1M0210-00602 | 2010 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
93 | AC-VR-16 | AC2-VRV7 | AC-VR | PB2 | PB2 Outside | TRANE-USA/ACU-TTV600-CDURAUP600/ 625000 BTU/h-183.18kw |  |  |  | 1M0210-00604 | 2010 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
94 | AC-VR-17 | AC2-VRV8 | AC-VR | PB2 | PB2 Outside | TRANE-USA/ACU-TTV600-CDURAUP600/ 625000 BTU/h-183.18kw |  |  |  | 1M0210-00515 | 2010 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
95 | AC-VR-18 | AC2-VRV9 | AC-VR | PB2 | PB2 Outside | TRANE-USA/ACU-TTV600-CDURAUP600/ 625000 BTU/h-183.18kw |  |  |  | 1M0210-00516 | 2010 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
96 | AC-VR-19 | AC2-VRV10 | AC-VR | PB2 | PB2 Outside | TRANE-USA/ACU-TTV600-CDURAUP600/ 625000 BTU/h-183.18kw |  |  |  | 1M0210-00514 | 2010 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
97 | AC-VR-20 | AC2-VRV11 | AC-VR | PB2 | PB2 Outside | TRANE-USA/ACU-TTV600-CDURAUP600/ 625000 BTU/h-183.18kw |  |  |  | 1M0210-00513 | 2010 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
98 | AC-VR-21 | AC2-VRV12 | AC-VR | PB2 | PB2 Outside | TRANE-USA/ACU-TTV600-CDURAUP600/ 625000 BTU/h-183.18kw |  |  |  | 1M0210-00512 | 2010 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
99 | AC-VR-22 | AC2-VRV13 | AC-VR | PB2 | PB2 Canteen | TRANE-USA/ACU-2xTTA075-CDU TTh-150-168000btu/h-49.24kw |  |  |  | 1M0210-00492/00499 | 2010 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
100 | AC-VR-23 | AC2-VRV14 | AC-VR | PB2 | PB2 Canteen | TRANE-USA/ACU-2xTTA075-CDU TTh-150-168000btu/h-49.24kw |  |  |  | 1M0210-00495/00489 | 2010 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
101 | AC-VR-24 | AC2-VRV15 | AC-VR | PB2 | PB2 Canteen | TRANE-USA/ACU-2xTTA075-CDU TTh-150-168000btu/h-49.24kw |  |  |  | 1M0210-00502/00500 | 2010 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
102 | AC-VR-25 | AC2-VRV16 | AC-VR | PB2 | PB2 Canteen | TRANE-USA/ACU-2xTTA075-CDU TTh-150-168000btu/h-49.24kw |  |  |  | 1M0210-00491/00496 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
103 | AC-VR-26 | AC2-VRV17 | AC-VR | PB2 | PB2 Canteen | TRANE-USA/ACU-2xTTA075-CDU TTh-150-168000btu/h-49.24kw |  |  |  | 1M0210-00503/00493 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
104 | AC-VR-27 | AC2-VRV18 | AC-VR | PB2 | PB2 Canteen | TRANE-USA/ACU-2xTTA075-CDU TTh-150-168000btu/h-49.24kw |  |  |  | 1M0210-00494/00504 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
105 | AC-VR-28 | AC2-VRV19 | AC-VR | PB2 | PB2 Canteen | TRANE-USA/ACU-2xTTA075-CDU TTh-150-168000btu/h-49.24kw |  |  |  | 1M0210-00490/00497 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
106 | AC-VR-29 | AC2-VRV20 | AC-VR | PB2 | PB2 Canteen | TRANE-USA/ACU-2xTTA075-CDU TTh-150-168000btu/h-49.24kw |  |  |  | 1M0210-00498/00501 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
107 | AC-VR-30 | AC1-VRV14 | AC-VR | PB1 | PB1 Mezzanine Playtex | TRANE-USA/TTA100/R000PA |  |  |  | 3T0607-729268 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
108 | AC-VR-31 | AC1-VRV15 | AC-VR | PB1 | PB1 Mezzanine JMS | TRANE-USA/TTA100/RD00QB 100000BTU/H |  |  |  | 3T0313-800965 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
109 | AC-VR-32 | AC1-VRV16 | AC-VR | PB1 | PB1 Mezzanine JMS | TRANE-USA/TTA100/RD00QB 100000BTU/H |  |  |  | 3T0313-800966 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
110 | AC-VR-33 | AC2-VRV21 | AC-VR | PB2 | PB2 Production office | TRANE-USA/ACU-MCDP125-CDU TTA125/ 127000 BTU/h-37.22kw |  |  |  | 1M0210-00488 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
111 | AC-VR-34 | AC3-VRV02 | AC-VR | PB3 | PB3 Production floor | YORK-USA/YSM 40X60/YCS054R4DXDCX, LH H, R407C &YCS060R4DXDCX, LH H, R407C |  |  |  | 9027179/462A03521-905&462A03520-907 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
112 | AC-VR-35 | AC3-VRV04 | AC-VR | PB3 | PB3 Production floor | TRANE-USA/YSM 40X60/YCS054R4DXDCX, LH H, R407C |  |  |  | 9027179/462A03521-905&462A03520-907 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
113 | AC-VR-36 | AC3-VRV05 | AC-VR | PB3 | PB3 Production floor | TRANE-USAYSM 40X60/YCS054R4DXDCX, LH H, R407C |  |  |  | 9027179/462A03521-905&462A03520-907 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
114 | AC-VR-37 | AC3-VRV01 | AC-VR | PB3 | PB3 Production floor | TRANE-USA/YCS054R4DXDCX, LH H, R407C |  |  |  | 462A03521-905/R111 010 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
115 | AC-WF-01 | AC1-WF01 | AC-WF | PB1 | PB1 in gaden near Oil tank | Ronsentech/ Model: 1354 |  |  |  | 201812134007 | 2019 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
116 | AC-WP-01 | AC1-WP01 | AC-WP | PB1 | PB1 in gaden near Oil tank | Ebara/ CDXM/A 90/10 |  |  |  |  | 2019 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
117 | AC-WP-02 | AC1-WP02 | AC-WP | PB1 | PB1 in gaden near Oil tank | Ebara/ CDXM/A 90/10 |  |  |  |  | 2019 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
118 | AC-WP-03 | AC1-WPVRV2 | AC-WP | PB1 | PB1 CDU Điều hòa 02 | Pentax/HT160 Q=100-450 l/m, H=23,9-7,8 mh2O |  |  |  |  | 2019 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
119 | AC-WP-04 | AC1-WPVRV4 | AC-WP | PB1 | PB1 CDU Điều hòa 04 | Ebara/CD200/A 200/40 |  |  |  |  | 2019 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
120 | AC-WP-05 | AC1-WPVRV6 | AC-WP | PB1 | PB1 CDU Điều hòa 06 | Pentax/HT160 Q=100-450 l/m, H=23,9-7,8 mh2O |  |  |  |  | 2019 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
121 | AC-WP-06 | AC1-WPVRV8 | AC-WP | PB1 | PB1 CDU Điều hòa 08 | Pentax/HT160 Q=100-450 l/m, H=23,9-7,8 mh2O |  |  |  |  | 2019 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
122 | AC-WP-07 | AC1-WPVRV10 | AC-WP | PB1 | PB1 CDU Điều hòa 10 | Pentax/HT160 Q=100-450 l/m, H=23,9-7,8 mh2O |  |  |  |  | 2019 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
123 | AC-WT-01 | AC1-WT01 | AC-WF | PB1 | PB1 in gaden near Oil tank | Sơn Hà/ Inox304 1000l, Pi:940, H:1630 |  |  |  |  | 2019 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
124 | Air supply pipe system | CO-SP01 | AC-DC | PB1 | PB1 Workshop Floor | [5 empty] | 2008 |  | 2021-07-29 10:34 |  | ./public/img_mac/noimg.png
125 | Air Tank | CO-AT02 | AC-CT | PB1 | PB1 Air-comp room |  |  |  |  | CC2001-603 | 2012 |  | 2021-07-29 10:34 |  | ./public/img_mac/noimg.png
126 | Centre controller - ES6 | CO-ES601 | AC-CT | PB1 | PB1 Air-comp room | ES6 |  |  |  | 84110820008 |  |  | 2021-07-29 10:34 |  | ./public/img_mac/noimg.png
127 | CO-AT-01 | CO-AT01 | CO-AT | PB1 | PB1 Air-comp room | 2500L | ACTIVE |  |  | 84110820008 | 2012 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
128 | CO-AT-02 | CO-AT02 | CO-AT | PB1 | PB1 Air-comp room | 2500L | ACTIVE |  |  | CC2001-604 | 2012 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
129 | CO-AT-03 | CO-AT03 | CO-AT | PB2 | PB2 Air-comp room | 5000L | ACTIVE | [5 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
130 | CO-AT-04 | CO-AT04 | CO-AT | PB3 | PB3 Air-comp room |  | ACTIVE |  |  |  | 2017 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
131 | CO-ES-01 | CO-ES601 | CO-ES | PB1 | PB1 Air-comp room | ATLAS | DEMAGE |  |  | APF133891 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
132 | CO-ES-02 | CO-ES602 | CO-ES | PB2 | PB2 Air-comp room | ATLAS | ACTIVE |  |  | 84110820008 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
133 | CO-MM-01 | CO-M01 | CO-MM | PB1 | PB1 Air-comp room | ATLAS/GA 90VSD | ACTIVE |  |  | API 653048 |  |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
134 | CO-MM-02 | CO-M02 | CO-MM | PB1 | PB1 Air-comp room | ATLAS/GA 90VSD | ACTIVE |  |  | API653049 | 2008-07-01 00:00:00 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
135 | CO-MM-03 | CO-M03 | CO-MM | PB1 | PB1 Air-comp room | ATLAS/GA 90FF | ACTIVE |  |  | API 606174 | 2008-07-01 00:00:00 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
136 | CO-MM-04 | CO-M04 | CO-MM | PB1 | PB1 Air-comp room | ATLAS/GA 90VSD | ACTIVE |  |  | API 658149 | 2012-12-01 00:00:00 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
137 | CO-MM-05 | CO-M05 | CO-MM | PB2 | PB2 Air-comp room | ATLAS/GA 90VSD | ACTIVE |  |  | API 658150 | 2010 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
138 | CO-MM-06 | CO-M06 | CO-MM | PB2 | PB2 Air-comp room | ATLAS/GA 90VSD | ACTIVE |  |  | API 656602 | 2010 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
139 | CO-MM-07 | CO-M07 | CO-MM | PB2 | PB2 Air-comp room | ATLAS/GA 90VSD | ACTIVE |  |  | API 656601 | 2010 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
140 | CO-MM-08 | CO-M08 | CO-MM | PB2 | PB2 Air-comp room | ATLAS/GA 90FF | ACTIVE |  |  | API 610686 | 2012 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
141 | CO-MM-09 | CO-M09 | CO-MM | PB3 | PB3 Air-comp room | ATLAS/GA 75VSD | ACTIVE |  |  | WUX832068 | 2017 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
142 | CO-MM-10 | CO-M10 | CO-MM | PB3 | PB3 Air-comp room | ATLAS/GA 75VSD | ACTIVE |  |  | WUX832069 | 2017 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
143 | CO-MM-11 | CO-M11 | CO-MM | PB2 | PB2 Air-comp room | ATLAS/GA 90FF | ACTIVE |  |  | API629818 | 2019-07-01 00:00:00 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
144 | CO-SP-01 | CO-SP01 | CO-SP | PB1 | PB1 Workshop Floor |  | ACTIVE |  |  | CC2001-603 | 2008 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
145 | CO-SP-02 | CO-SP02 | CO-SP | PB2 | PB2 Workshop Floor |  | ACTIVE | [5 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
146 | CO-SP-03 | CO-SP03 | CO-SP | PB3 | PB3 Workshop Floor |  | ACTIVE |  |  |  | 2017 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
147 | CO-WF-01 | CO-WF01 | CO-WF | PB1 | PB1 Air-comp room | ATLAS/DD/PDP-850F (DD105F) | ACTIVE |  |  |  | 2008-07-01 00:00:00 |  | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
148 | CO-WF-02 | CO-WF02 | CO-WF | PB2 | PB2 Air-comp room | ATLAS/PD/PDP-850F (PD780F) | ACTIVE | [5 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
149 | CO-WF-03 | CO-WF03 | CO-WF | PB2 | PB2 Air-comp room | ATLAS/DD/DDP-850F (DD780F) | ACTIVE | [5 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
150 | LE-AG-01 | LE-ACBG1 | LE-AG | PB1 | PB1 LVSB room | Masterpact -SCHNEIDER/NW 40 H2 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
151 | LE-AG-02 | LE-ACBG2 | LE-AG | PB2 | PB2 Generator room | SCHNEIDER/NW 32H1 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
152 | LE-AM-01 | LE-ACBM1 | LE-AM | PB1 | PB1 LVSB room | Masterpact -SCHNEIDER/NW 40 H2 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
153 | LE-AM-02 | LE-ACBM2 | LE-AM | PB2 | PB2 Generator room | SCHNEIDER/NW 40H2 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
154 | LE-AM-04 | LE-ACB | LE-AM | PB2 | PB2 Generator room | SCHNEIDER/NW 40H1 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
155 | LE-CA-01 | LE-CA01 | LE-CA | PB1 | PB1 LVSB room | EPCOS/25KVAR-440 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
156 | LE-CA-02 | LE-CA02 | LE-CA | PB1 | PB1 LVSB room | EPCOS/25KVAR-440 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
157 | LE-CA-03 | LE-CA03 | LE-CA | PB2 | PB2 Generator room | Frako/LKT 25-440-DB | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
158 | LE-DB-01 | DB16 | LE-DB | PB1 | PB1 Generator room | [7 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
159 | LE-DB-02 | DB 15 | LE-DB | PB1 | PB1 Generator room | 3P~ 240/400V 3.3Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
160 | LE-DB-10 | DB 5 | LE-DB | PB1 | PB1 Workshop Zone3 | 3P~ 240/400V 350Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
161 | LE-DB-11 | DB 8 | LE-DB | PB1 | PB1 Workshop Zone3 | 3P~ 240/400V 220Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
162 | LE-DB-12 | DB 7 | LE-DB | PB1 | PB1 Workshop Zone3 | 3P~ 240/400V 350Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
163 | LE-DB-13 | DB7 A | LE-DB | PB1 | PB1 Warehouse | 3P~ 240/400V 350Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
164 | LE-DB-14 | DB 10 | LE-DB | PB1 | PB1 Main Office | 3P~ 240/400V 55Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
165 | LE-DB-15 | DB 13 | LE-DB | PB1 | PB1 Air-comp room | 3P~ 240/400V 90Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
166 | LE-DB-16 | DB 9 | LE-DB | PB1 | PB1 Air-comp room | 3P~ 240/400V 225Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
167 | LE-DB-17 | DB 3A | LE-DB | PB1 | PB1 Mezzanine corridor | 3P~ 240/400V 22Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
168 | LE-DB-18 | DB 7B | LE-DB | PB1 | PB1 Mezzanine | 3P~ 240/400V 55Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
169 | LE-DB-19 | DB 6A | LE-DB | PB1 | PB1 Clinic room | 3P~ 240/400V 35Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
170 | LE-DB-20 | DB13B | LE-DB | PB1 | PB1 Water tower | 3P~ 240/400V 17Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
171 | LE-DB-21 | DP 9A | LE-DB | PB1 | PB1 Clearnning room | 3P~ 240/400V 18Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
172 | LE-DB-22 | DB 13A | LE-DB | PB1 | PB1 Mec Storge | 3P~ 240/400V 18Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
173 | LE-DB-23 | DB 13D | LE-DB | PB1 | [8 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
174 | LE-DB-24 | DB 8A | LE-DB | PB1 | PB1 Production office | 3P~ 240/400V 35Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
175 | LE-DB-25 | DB 13E | LE-DB | PB1 | PB1 Lad room | 3P~ 240/400V 42Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
176 | LE-DB-26 | DB 13F | LE-DB | PB1 | PB1 Employ corrner | 3P~ 240/400V 30Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
177 | LE-DB-27 | DB 13G | LE-DB | PB1 | PB1 Pad room | 3P~ 240/400V 30Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
178 | LE-DB-28 | DB 13H | LE-DB | PB1 | PB1 FM work shop | 3P~ 240/400V 18Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
179 | LE-DB-29 | DB 13A1 | LE-DB | PB1 | PB1 Chemical storage | 3P~ 240/400V 42Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
180 | LE-DB-3 | DB 11 | LE-DB | PB1 | PB1 Gate A1 | 3P~ 240/400V 42Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
181 | LE-DB-30 | DB 13A1 | LE-DB | PB1 | PB1 Kho Dự án FM-Café-OCS | 3P~ 240/400V 18Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
182 | LE-DB-31 | DB7 A1 | LE-DB | PB1 | PB1 Warehouse Shiping Dock | 1P~ 240V 18Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
183 | LE-DB-32 | DB7 A2 | LE-DB | PB1 | PB1 Warehouse Loading Dock | 1P~ 240V 18Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
184 | LE-DB-33 | DB 11A | LE-DB | PB1 | PB1 Garden Pump near Main office | 3P~ 240/400V 17Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
185 | LE-DB-34 | DB16A | LE-DB | PB1 | PB1 water of Air-cond | 3P~ 240/400V 18Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
186 | LE-DB-35 | DB 4A | LE-DB | PB1 | PB1 control of drink water | 3P~ 240/400V 14Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
187 | LE-DB-36 | DB 4B | LE-DB | PB1 | PB1 Filter of drink water | 3P~ 240/400V 9Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
188 | LE-DB-37 | DB 2A | LE-DB | PB1 | PB1 outside Near door #3 | 3P~ 240/400V 9Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
189 | LE-DB-38 | DB 2B | LE-DB | PB1 | PB1 outside Near door #2 | 3P~ 240/400V 9Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
190 | LE-DB-39 | DB14 | LE-DB | PB1 | PB1 LVSB Room | 3P~ 240/400V 22Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
191 | LE-DB-4 | DB 12 | LE-DB | PB1 | PB1 Gate A2 | 3P~ 240/400V 42Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
192 | LE-DB-40 | DB17A1 | LE-DB | PB1 | IT Room | 3P~ 240/400V 18Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
193 | LE-DB-41 | DB17B | LE-DB | PB2 | IT PB2 ( Văn Phòng PB2) | 3P~ 240/400V 18Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
194 | LE-DB-42 | DB 13C | LE-DB | PB1 | Distribution board New Eployer corrner | [7 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
195 | LE-DB-43 | DB 22 | LE-DB | PB2 | PB2 Generator room | 3P~ 240/400V 8.8Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
196 | LE-DB-44 | DB 23 | LE-DB | PB2 | PB2 Generator room | 3P~ 240/400V 8.8Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
197 | LE-DB-45 | DB 1 | LE-DB | PB2 | PB2 Workshop | 3P~ 240/400V 220Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
198 | LE-DB-46 | DB 2 | LE-DB | PB2 | PB2 Workshop | 3P~ 240/400V 220Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
199 | LE-DB-47 | DB 3 | LE-DB | PB2 | PB2 Workshop | 3P~ 240/400V 220Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
200 | LE-DB-48 | DB 4 | LE-DB | PB2 | PB2 Workshop | 3P~ 240/400V 220Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
201 | LE-DB-49 | DB 5 | LE-DB | PB2 | PB2 Workshop | 3P~ 240/400V 220Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
202 | LE-DB-5 | DB 2 | LE-DB | PB1 | PB1 Workshop Zone1 | 3P~ 240/400V 220Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
203 | LE-DB-50 | DB 6 | LE-DB | PB2 | PB2 Workshop | 3P~ 240/400V 220Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
204 | LE-DB-51 | DB 7 | LE-DB | PB2 | PB2 Workshop | 3P~ 240/400V 220Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
205 | LE-DB-52 | DB 8 | LE-DB | PB2 | PB2 Workshop | 3P~ 240/400V 220Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
206 | LE-DB-53 | DB 9 | LE-DB | PB2 | PB2 Workshop | 3P~ 240/400V 220Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
207 | LE-DB-54 | DB 10 | LE-DB | PB2 | PB2 Workshop | 3P~ 240/400V 220Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
208 | LE-DB-55 | DB 11 | LE-DB | PB2 | PB2 Workshop | 3P~ 240/400V 220Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
209 | LE-DB-56 | DB 12 | LE-DB | PB2 | PB2 Workshop | 3P~ 240/400V 220Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
210 | LE-DB-57 | DB 13 | LE-DB | PB2 | PB2 Workshop | 3P~ 240/400V 220Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
211 | LE-DB-58 | DB 14 | LE-DB | PB2 | PB2 Workshop | 3P~ 240/400V 220Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
212 | LE-DB-59 | DB 15 | LE-DB | PB2 | PB2 Workshop | 3P~ 240/400V 220Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
213 | LE-DB-6 | DB 1 | LE-DB | PB1 | PB1 Workshop Zone1 | 3P~ 240/400V 350Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
214 | LE-DB-60 | DB 16 | LE-DB | PB2 | PB2 Workshop | 3P~ 240/400V 220Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
215 | LE-DB-61 | DB 17 | LE-DB | PB2 | PB2 Workshop | 3P~ 240/400V 220Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
216 | LE-DB-62 | DB 18 | LE-DB | PB2 | PB2 Workshop | 3P~ 240/400V 220Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
217 | LE-DB-63 | DB 19 | LE-DB | PB2 | PB2 Warehouse | 3P~ 240/400V 83Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
218 | LE-DB-64 | DB 19A | LE-DB | PB2 | PB2 Warehouse | 3P~ 240/400V 33Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
219 | LE-DB-65 | DB 20 | LE-DB | PB2 | PB2 Workshop | 3P~ 240/400V 83Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
220 | LE-DB-66 | DB 21 | LE-DB | PB2 | PB2 Canteen | 3P~ 240/400V 440Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
221 | LE-DB-67 | DB 21B | LE-DB | PB2 | PB2 Canteen | 3P~ 240/400V 340Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
222 | LE-DB-68 | DB 10A | LE-DB | PB2 | PB2 Workshop | 1P~ 240V 1Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
223 | LE-DB-69 | DB 12A | LE-DB | PB2 | PB2 Workshop | 1P~ 240V 1Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
224 | LE-DB-7 | DB 4 | LE-DB | PB1 | PB1 Workshop Zone2 | 3P~ 240/400V 220Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
225 | LE-DB-70 | DB 21C | LE-DB | PB2 | PB2 Canteen | 3P~ 240/400V 22Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
226 | LE-DB-71 | DB 21B1 | LE-DB | PB2 | PB2 Outside near canteen | 3P~ 240/400V 27Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
227 | LE-DB-72 | DB 21A | LE-DB | PB2 | PB2 A3 Gate | 3P~ 240/400V 44Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
228 | LE-DB-73 | DB 24 | LE-DB | PB2 | PB2 FM Room | 3P~ 240/400V 13Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
229 | LE-DB-74 | DB 1 | LE-DB | PB3 | PB3 Workshop | 3P~ 240/400V 110Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
230 | LE-DB-75 | DB 2 | LE-DB | PB3 | PB3 Workshop | 3P~ 240/400V 35Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
231 | LE-DB-76 | DB 3 | LE-DB | PB3 | PB3 Workshop | 3P~ 240/400V 55Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
232 | LE-DB-77 | DB 4 | LE-DB | PB3 | PB3 Workshop | 3P~ 240/400V 55Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
233 | LE-DB-78 | DB 4A | LE-DB | PB3 | PB3 Workshop | 3P~ 240/400V 17Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
234 | LE-DB-79 | DB 5 | LE-DB | PB3 | PB3 Workshop | 3P~ 240/400V 110Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
235 | LE-DB-8 | DB 3 | LE-DB | PB1 | PB1 Workshop Zone2 | 3P~ 240/400V 350Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
236 | LE-DB-80 | MCC 5 | LE-DB | PB3 | PB3 Pump room | 3P~ 240/400V 8.8Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
237 | LE-DB-81 | DB 6 | LE-DB | PB3 | PB3 Mechanic Workshop | 3P~ 240/400V 27Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
238 | LE-DB-82 | DB11 | LE-DB | PB3 | PB3 Workshop | 3P~ 240/400V 17Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
239 | LE-DB-83 |  | LE-DB | PB3 | PB3 Warehouse Office | 3P~ 240/400V 110Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
240 | LE-DB-84 |  | LE-DB | PB3 | PB3 Warehouse Office | 1P~ 240V 5.6Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
241 | LE-DB-85 | DB 14 | LE-DB | PB3 | PB3 Workshop | 3P~ 240/400V 13Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
242 | LE-DB-86 | DB 7 | LE-DB | PB3 | PB3 Workshop | 3P~ 240/400V 22Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
243 | LE-DB-87 | DB 8 | LE-DB | PB3 | PB3 Workshop near Production Office | 3P~ 240/400V 55Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
244 | LE-DB-88 | DB 9 | LE-DB | PB3 | PB3 Workshop near Production Office | 3P~ 240/400V 55Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
245 | LE-DB-89 | DB 15A | LE-DB | PB3 | PB3 Generator room | 3P~ 240/400V 3.3Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
246 | LE-DB-9 | DB 6 | LE-DB | PB1 | PB1 Workshop Zone3 | 3P~ 240/400V 220Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
247 | LE-DB-90 | DB 15 | LE-DB | PB3 | PB3 Generator room | 3P~ 240/400V 11Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
248 | LE-DB-91 | DB 16 | LE-DB | PB3 | PB3 Workshop | 3P~ 240/400V 350Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
249 | LE-DB-92 | DB 11A | LE-DB | PB3 | PB3 Workshop | 3P~ 240/400V 16.6Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
250 | LE-DB-93 | DB 12 | LE-DB | PB3 | PB3 Workshop | 3P~ 240/400V 16.6Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
251 | LE-DB-94 | DB 10 | LE-DB | PB3 | PB3 Workshop | 3P~ 240/400V 16.6Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
252 | LE-DB-95 | DB 13 | LE-DB | PB3 | PB3 Workshop | 3P~ 240/400V 22Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
253 | LE-DB-96 | DB 14 | LE-DB | PB3 | PB3 Workshop | 3P~ 240/400V 22Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
254 | LE-DB-97 | DB 2A | LE-DB | PB3 | PB3 Workshop | 3P~ 240/400V 16.6Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
255 | LE-MC-01 | MCC 5 | LE-MC | PB1 | PB1 outside -near door#14 | 3P~ 240/400V 350Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
256 | LE-MC-02 | MCC 6 | LE-MC | PB1 | PB1 outside -near door#15 | 3P~ 240/400V 450Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
257 | LE-MC-03 | MCC 4 | LE-MC | PB1 | PB1 Air-comp room #2,3,4 | 3P~ 240/400V 350Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
258 | LE-MC-04 | MCC 3 | LE-MC | PB1 | PB1 Air-comp room #1 | 3P~ 240/400V 220Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
259 | LE-MC-05 | MCC 7 | LE-MC | PB1 | PB1 Fire Pump | 3P~ 240/400V 55Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
260 | LE-MC-06 | MCC 5B | LE-MC | PB1 | PB1 Outside workshop | 3P~ 240/400V 55Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
261 | LE-MC-07 | MCC 5C | LE-MC | PB1 | PB1 Outside workshop | 3P~ 240/400V 55Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
262 | LE-MC-08 | MCC 5D | LE-MC | PB1 | PB1 Outside workshop | 3P~ 240/400V 55Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
263 | LE-MC-09 | MCC 6A | LE-MC | PB1 | PB1 Outside workshop | 3P~ 240/400V 55Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
264 | LE-MC-10 | MCC 6B | LE-MC | PB1 | PB1 Outside workshop | 3P~ 240/400V 55Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
265 | LE-MC-11 | MCC 6C | LE-MC | PB1 | PB1 Outside workshop | 3P~ 240/400V 55Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
266 | LE-MC-12 | MCC 6D | LE-MC | PB1 | PB1 Outside workshop | 3P~ 240/400V 55Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
267 | LE-MC-13 | MCC 6E | LE-MC | PB1 | PB1 Outside workshop | 3P~ 240/400V 55Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
268 | LE-MC-14 | MCC 6F | LE-MC | PB1 | PB1 Outside workshop | 3P~ 240/400V 55Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
269 | LE-MC-15 | MCC1 | LE-MC | PB1 | PB1 Outside workshop | 3P~ 240/400V 45Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
270 | LE-MC-16 | MCC2 | LE-MC | PB1 | PB1 Outside workshop | 3P~ 240/400V 140Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
271 | LE-MC-17 | MCC1 A | LE-MC | PB2 | PB2 Outside workshop | 3P~ 240/400V 83Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
272 | LE-MC-18 | MCC 1B | LE-MC | PB2 | PB2 Outside workshop | 3P~ 240/400V 138Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
273 | LE-MC-19 | MCC 1C | LE-MC | PB2 | PB2 Outside workshop | 3P~ 240/400V 83Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
274 | LE-MC-20 | MCC 1D | LE-MC | PB2 | PB2 Outside workshop | 3P~ 240/400V 83Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
275 | LE-MC-21 | MCC 1E | LE-MC | PB2 | PB2 Outside workshop | 3P~ 240/400V 83Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
276 | LE-MC-22 | MCC 1F | LE-MC | PB2 | PB2 Outside workshop | 3P~ 240/400V 83Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
277 | LE-MC-23 | MCC 1G | LE-MC | PB2 | PB2 Outside workshop | 3P~ 240/400V 83Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
278 | LE-MC-24 | MCC 1K | LE-MC | PB2 | PB2 Outside workshop | 3P~ 240/400V 83Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
279 | LE-MC-25 | MCC 1 | LE-MC | PB2 | PB2 Workshop | 3P~ 240/400V 692Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
280 | LE-MC-26 | MCC 2 | LE-MC | PB2 | PB2 Air-Comp room | 3P~ 240/400V 554Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
281 | LE-MC-27 | MCC 3 | LE-MC | PB2 | PB2 Pump room | 3P~ 240/400V 27Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
282 | LE-MC-28 | MCC 4 | LE-MC | PB2 | PB2 Pump room | 3P~ 240/400V 27Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
283 | LE-MC-29 | MCC 5 | LE-MC | PB2 | PB2 Pump room | 3P~ 240/400V 16Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
284 | LE-MC-30 | MCC 6 | LE-MC | PB2 | PB2 Workshop | 3P~ 240/400V 83Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
285 | LE-MC-31 | MCC 7 | LE-MC | PB2 | PB2 Outside near Office | 3P~ 240/400V 16Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
286 | LE-MC-32 | MCC 3A | LE-MC | PB2 | PB2 Workshop near Nurse room | 1P~ 240V 4.4Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
287 | LE-MC-33 | MCC 1L | LE-MC | PB2 | PB2 Workshop | 1P~ 240V 1Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
288 | LE-MC-34 | MCC 1 | LE-MC | PB3 | PB3 Workshop | 3P~ 240/400V 349Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
289 | LE-MC-35 | MCC 2 | LE-MC | PB3 | PB3 Air compressure room | 3P~ 240/400V 220Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
290 | LE-MC-36 | MCC 3 | LE-MC | PB3 | PB3 Pump room | 3P~ 240/400V 220Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
291 | LE-MC-37 | MCC 5A | LE-MC | PB3 | PB3 Pump room | 3P~ 240/400V 13Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
292 | LE-MC-38 | MCC 5B | LE-MC | PB3 | PB3 Pump room | 3P~ 240/400V 3.3Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
293 | LE-MC-39 | MCC4 | LE-MC | PB3 | PB3 Workshop | 3P~ 240/400V 55Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
294 | LE-MC-40 | MCC 1N | LE-MC | PB3 | PB3 Workshop | 3P~ 240/400V 33Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
295 | LE-MC-41 | MCC 1O | LE-MC | PB3 | PB3 Workshop | 3P~ 240/400V 33Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
296 | LE-MC-42 | MCC 1P | LE-MC | PB3 | PB3 Workshop | 3P~ 240/400V 33Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
297 | LE-MC-43 | MCC 1Q | LE-MC | PB3 | PB3 Workshop | 3P~ 240/400V 33Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
298 | LE-MC-44 | MCC 1R | LE-MC | PB3 | PB3 Workshop | 3P~ 240/400V 55Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
299 | LE-MC-45 | MCC 1S | LE-MC | PB3 | PB3 Workshop | 3P~ 240/400V 33Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
300 | LE-MC-46 | MCC 1M | LE-MC | PB3 | PB3 Workshop | 3P~ 240/400V 33Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
301 | LE-MC-47 | MCC 1N1 | LE-MC | PB3 | PB3 Workshop | 3P~ 240/400V 33Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
302 | LE-MC-48 | MCC 1A | LE-MC | PB3 | PB3 Workshop | 3P~ 240/400V 55Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
303 | LE-MC-49 | MCC 1B | LE-MC | PB3 | PB3 Workshop | 3P~ 240/400V 55Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
304 | LE-MC-50 | MCC 1C | LE-MC | PB3 | PB3 Workshop | 3P~ 240/400V 33Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
305 | LE-MC-51 | MCC 1D | LE-MC | PB3 | PB3 Workshop | 3P~ 240/400V 55Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
306 | LE-MC-52 | MCC 1E | LE-MC | PB3 | PB3 Workshop | 3P~ 240/400V 33Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
307 | LE-MC-53 | MCC 1F | LE-MC | PB3 | PB3 Workshop | 3P~ 240/400V 22Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
308 | LE-MC-54 | MCC 1G | LE-MC | PB3 | PB3 Workshop | 3P~ 240/400V 44Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
309 | LE-MC-55 | MCC 1H | LE-MC | PB3 | PB3 Workshop | 3P~ 240/400V 41Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
310 | LE-MC-56 | MCC 1I | LE-MC | PB3 | PB3 Workshop | 3P~ 240/400V 55Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
311 | LE-MC-57 | MCC 1J | LE-MC | PB3 | PB3 Workshop | 3P~ 240/400V 33Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
312 | LE-MC-58 | MCC 1K | LE-MC | PB3 | PB3 Workshop | 3P~ 240/400V 55Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
313 | LE-MC-59 | MCC 1N1A | LE-MC | PB3 | PB3 Workshop | 3P~ 240/400V 5.5Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
314 | LE-MC-60 | MCC 1N2 | LE-MC | PB3 | PB3 Workshop | 3P~ 240/400V 5.5Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
315 | LE-MC-61 | MCC 1O1 | LE-MC | PB3 | PB3 Workshop | 3P~ 240/400V 5.5Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
316 | LE-MC-62 | MCC 1P1 | LE-MC | PB3 | PB3 Workshop | 3P~ 240/400V 5.5Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
317 | LE-MC-63 | MCC 1Q1 | LE-MC | PB3 | PB3 Workshop | 3P~ 240/400V 5.5Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
318 | LE-MC-64 | MCC 1R1 | LE-MC | PB3 | PB3 Workshop | 3P~ 240/400V 5.5Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
319 | LE-MC-65 | MCC 1S1 | LE-MC | PB3 | PB3 Workshop | 3P~ 240/400V 5.5Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
320 | LE-MD-01 | MSB | LE-MD | PB1 | PB1LVSB room | 3P~ 240/400V 2000Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
321 | LE-MD-02 | MSB | LE-MD | PB2 | PB2 Generator room | 3P~ 240/400V 2200Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
322 | LE-MD-03 | MSB | LE-MD | PB3 | PB3 Generator room | 3P~ 240/400V 554Kwh | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
323 | LE-PM-01 | LE-PM1 | LE-PM | PB1 | PB1 LVSB room DB MSB | SCHNEIDER/PM 710 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
324 | LE-PM-02 | LE-PM2 | LE-PM | PB1 | PB1 LVSB room DB MSB | SCHNEIDER/PM 710 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
325 | LE-PM-03 | LE-PM3 | LE-PM | PB1 | PB1 LVSB room DB MSB | SCHNEIDER/PM 710 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
326 | LE-PM-04 | LE-PM4 | LE-PM | PB1 | PB1 LVSB room DB MSB | SCHNEIDER/PM 710 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
327 | LE-PM-05 | LE-PM5 | LE-PM | PB1 | PB1 LVSB room DB MSB | SCHNEIDER/PM 710 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
328 | LE-PM-06 | LE-PM6 | LE-PM | PB1 | PB1 LVSB room DB MSB | SCHNEIDER/PM 710 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
329 | LE-PM-07 | LE-PM7 | LE-PM | PB1 | PB1 PAD room | SCHNEIDER/PM 5350 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
330 | LE-PM-08 | LE-PM8 | LE-PM | PB1 | PB1 Employ corrner DB E corner | GELEX-EMIC/MV3E43T | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
331 | LE-PM-09 | LE-PM9 | LE-PM | PB1 | PB1 Lab room | GELEX-EMIC/MV3E43T | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
332 | LE-PM-10 | LE-PM10 | LE-PM | PB1 | PB1 Warehouse DB Warehouse | GELEX-EMIC/MV3E43T | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
333 | LE-PM-11 | LE-PM11 | LE-PM | PB1 | PB1 Zone 3 DBPZ3 | GELEX-EMIC/MV3E43T | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
334 | LE-PM-12 | LE-PM12 | LE-PM | PB1 | PB1 LVSB room DB MSB | SCHNEIDER/PM 5350 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
335 | LE-PM-13 | LE-PM13 | LE-PM | PB1 | PB1 Generator room DB Megalo | SCHNEIDER/PM 5350 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
336 | LE-PM-14 | LE-PM14 | LE-PM | PB1 | PB1 Security room DBBV1 | GELEX-EMIC/MV3E43T | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
337 | LE-PM-15 | LE-PM15 | LE-PM | PB1 | PB1 Security room DBBV2 | GELEX-EMIC/MV3E43T | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
338 | LE-PM-16 | LE-PM16 | LE-PM | PB1 | PB1 FM Work shop | GELEX-EMIC/MV3E43T | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
339 | LE-SB-01 | LE-MSB1 | LE-SB | PB1 | PB1 LVSB room | MERLIN GERIN-SCHNEIDER/VS-PM_08_0077 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
340 | LE-SB-02 | LE-MSB.DBSUB | LE-SB | PB1 | PB1 LVSB room | MERLIN GERIN-SCHNEIDER/VS-PM_08_0077 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
341 | LE-SB-03 | LE-MSB.DBAC1 | LE-SB | PB1 | PB1 LVSB room | MERLIN GERIN-SCHNEIDER/VS-PM_08_0077 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
342 | LE-SB-04 | LE-MSB.DBAC2 | LE-SB | PB1 | PB1 LVSB room | MERLIN GERIN-SCHNEIDER/VS-PM_08_0077 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
343 | LE-SB-05 | LE-MSB.DBBV1 | LE-SB | PB1 | PB1 LVSB room | MERLIN GERIN-SCHNEIDER/VS-PM_08_0077 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
344 | LE-SB-06 | LE-MSB.DBBV2 | LE-SB | PB1 | PB1 LVSB room | MERLIN GERIN-SCHNEIDER/VS-PM_08_0077 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
345 | LE-SB-07 | LE-MSB.DBLZ1 | LE-SB | PB1 | PB1 LVSB room | MERLIN GERIN-SCHNEIDER/VS-PM_08_0077 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
346 | LE-SB-08 | LE-MSB.DBPZ1 | LE-SB | PB1 | PB1 LVSB room | MERLIN GERIN-SCHNEIDER/VS-PM_08_0077 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
347 | LE-SB-09 | LE-MSB.DBLZ2.1 | LE-SB | PB1 | PB1 LVSB room | MERLIN GERIN-SCHNEIDER/VS-PM_08_0077 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
348 | LE-SB-10 | LE-MSB.DBPZ2.1 | LE-SB | PB1 | PB1 LVSB room | MERLIN GERIN-SCHNEIDER/VS-PM_08_0077 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
349 | LE-SB-11 | LE-MSB.DBLZ2.2 | LE-SB | PB1 | PB1 LVSB room | MERLIN GERIN-SCHNEIDER/VS-PM_08_0077 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
350 | LE-SB-12 | LE-MSB.DBPZ2.2 | LE-SB | PB1 | PB1 LVSB room | MERLIN GERIN-SCHNEIDER/VS-PM_08_0077 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
351 | LE-SB-13 | LE-MSB.DBLZ3 | LE-SB | PB1 | PB1 LVSB room | MERLIN GERIN-SCHNEIDER/VS-PM_08_0077 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
352 | LE-SB-14 | LE-MSB.DBPZ3 | LE-SB | PB1 | PB1 LVSB room | MERLIN GERIN-SCHNEIDER/VS-PM_08_0077 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
353 | LE-SB-15 | LE-MSB.SDB1 | LE-SB | PB1 | PB1 LVSB room | MERLIN GERIN-SCHNEIDER/VS-PM_08_0077 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
354 | LE-SB-16 | LE-MSB.SDB2 | LE-SB | PB1 | PB1 LVSB room | MERLIN GERIN-SCHNEIDER | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
355 | LE-SB-17 | LE-MSB.DB1 | LE-SB | PB1 | PB1 LVSB room | MERLIN GERIN-SCHNEIDER/VS-PM_08_0077 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
356 | LE-SB-18 | LE-MSB.DB2 | LE-SB | PB1 | PB1 LVSB room | MERLIN GERIN-SCHNEIDER/VS-PM_08_0077 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
357 | LE-SB-19 | LE-MSB.DB3 | LE-SB | PB1 | PB1 LVSB room | MERLIN GERIN-SCHNEIDER/VS-PM_08_0077 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
358 | LE-SB-20 | LE-MSB.DB4 | LE-SB | PB1 | PB1 LVSB room | MERLIN GERIN-SCHNEIDER/VS-PM_08_0077 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
359 | LE-SB-21 | LE-MSB.DBIT | LE-SB | PB1 | PB1 LVSB room | [7 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
360 | LE-SB-22 | LE-MSB.DBAC11 | LE-SB | PB1 | PB1 LVSB room | [7 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
361 | LE-SB-23 | LE-MSB.DBAC12&13 | LE-SB | PB1 | PB1 LVSB room | [7 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
362 | LE-SB-24 | LE-MSB2 | LE-SB | PB2 | PB2 Generator room | [7 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
363 | LE-SB-25 | LE-MSB.MCC1 | LE-SB | PB2 | PB2 Generator room | MCCB-3P-1000A-50KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
364 | LE-SB-26 | LE-MSB.MCC2 | LE-SB | PB2 | PB2 Generator room | MCCB-3P-400A-50KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
365 | LE-SB-27 | LE-MSB.MCC3 | LE-SB | PB2 | PB2 Generator room | MCCB-3P-300A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
366 | LE-SB-28 | LE-MSB.MCC4 | LE-SB | PB2 | PB2 Generator room | MCCB-3P-40A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
367 | LE-SB-29 | LE-MSB.MCC5 | LE-SB | PB2 | PB2 Generator room | MCCB-3P-40A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
368 | LE-SB-30 | LE-MSB.MCC6 | LE-SB | PB2 | PB2 Generator room | MCCB-3P-150A-25KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
369 | LE-SB-31 | LE-MSB.MCC7 | LE-SB | PB2 | PB2 Generator room | MCCB-3P-20A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
370 | LE-SB-32 | LE-MSB.DB1 | LE-SB | PB2 | PB2 Generator room | MCCB-3P-400A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
371 | LE-SB-33 | LE-MSB.DB2 | LE-SB | PB2 | PB2 Generator room | MCCB-3P-400A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
372 | LE-SB-34 | LE-MSB.DB3 | LE-SB | PB2 | PB2 Generator room | MCCB-3P-400A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
373 | LE-SB-35 | LE-MSB.DB4 | LE-SB | PB2 | PB2 Generator room | MCCB-3P-400A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
374 | LE-SB-36 | LE-MSB.DB5 | LE-SB | PB2 | PB2 Generator room | MCCB-3P-400A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
375 | LE-SB-37 | LE-MSB.DB6 | LE-SB | PB2 | PB2 Generator room | MCCB-3P-400A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
376 | LE-SB-38 | LE-MSB.DB7 | LE-SB | PB2 | PB2 Generator room | MCCB-3P-400A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
377 | LE-SB-39 | LE-MSB.DB8 | LE-SB | PB2 | PB2 Generator room | MCCB-3P-400A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
378 | LE-SB-40 | LE-MSB.DB9 | LE-SB | PB2 | PB2 Generator room | MCCB-3P-400A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
379 | LE-SB-41 | LE-MSB.DB10 | LE-SB | PB2 | PB2 Generator room | MCCB-3P-400A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
380 | LE-SB-42 | LE-MSB.DB11 | LE-SB | PB2 | PB2 Generator room | MCCB-3P-400A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
381 | LE-SB-43 | LE-MSB.DB12 | LE-SB | PB2 | PB2 Generator room | MCCB-3P-400A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
382 | LE-SB-44 | LE-MSB.DB13 | LE-SB | PB2 | PB2 Generator room | MCCB-3P-400A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
383 | LE-SB-45 | LE-MSB.DB14 | LE-SB | PB2 | PB2 Generator room | MCCB-3P-400A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
384 | LE-SB-46 | LE-MSB.DB15 | LE-SB | PB2 | PB2 Generator room | MCCB-3P-400A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
385 | LE-SB-47 | LE-MSB.DB16 | LE-SB | PB2 | PB2 Generator room | MCCB-3P-400A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
386 | LE-SB-48 | LE-MSB.DB17 | LE-SB | PB2 | PB2 Generator room | MCCB-3P-400A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
387 | LE-SB-49 | LE-MSB.DB18 | LE-SB | PB2 | PB2 Generator room | MCCB-3P-400A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
388 | LE-SB-50 | LE-MSB.DB19 | LE-SB | PB2 | PB2 Generator room | MCCB-3P-400A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
389 | LE-SB-51 | LE-MSB.DB20 | LE-SB | PB2 | PB2 Generator room | MCCB-3P-400A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
390 | LE-SB-52 | LE-MSB.DB21 | LE-SB | PB2 | PB2 Generator room | MCCB-3P-400A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
391 | LE-SB-53 | LE-MSB.SPARE | LE-SB | PB2 | PB2 Generator room | MCCB-3P-100A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
392 | LE-SB-54 | LE-MSB.SPARE | LE-SB | PB2 | PB2 Generator room | MCCB-3P-100A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
393 | LE-SB-55 | LE-MSB.SPARE | LE-SB | PB2 | PB2 Generator room | MCCB-3P-100A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
394 | LE-SB-56 | LE-MSB.SPARE | LE-SB | PB2 | PB2 Generator room | MCCB-3P-100A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
395 | LE-SB-57 | LE-MSB.SPARE | LE-SB | PB2 | PB2 Generator room | MCCB-3P-100A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
396 | LE-SB-58 | LE-MSB.SPARE | LE-SB | PB2 | PB2 Generator room | MCCB-3P-100A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
397 | LE-SB-59 | LE-MSB.SPARE | LE-SB | PB2 | PB2 Generator room | MCCB-3P-100A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
398 | LE-SB-60 | LE-MSB.SPARE | LE-SB | PB2 | PB2 Generator room | MCCB-3P-132A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
399 | LE-SB-61 | LE-MSB.SPARE | LE-SB | PB2 | PB2 Generator room | MCCB-3P-100A-70KA | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
400 | ME-GB-01 | ME- GBC-B | ME-GB | PB2 | PB2 Transformer room | SCHNEIDER/E-SM6-GBCB | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
401 | ME-SI-01 | ME-SGI1 | ME-SI | PB1 | PB1 HVSB room | MERLIN-SCHNEDER/NEX 24KV WITH DRAWABLE METALCLAD SWICHT | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
402 | ME-SI-02 | ME-SGI2 | ME-SI | PB2 | PB2 Transformer room | SCHNEIDER/IM-24 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
403 | ME-SO-01 | ME-SGO1 | ME-S0 | PB1 | PB1 HVSB room | MERLIN-SCHNEDER/NEX 24KV WITH DRAWABLE METALCLAD SWICHT | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
404 | ME-SO-02 | ME-SGO2 | ME-S0 | PB2 | PB2 Transformer room | SCHNEIDER/QM | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
405 | ME-TR-01 | ME-TR01 | ME-TR | PB1 | PB1 Transfosmer room | ABB-Usa/2500-15-22/04 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
406 | ME-TR-02 | ME-TR02 | ME-TR | PB2 | PB2 Transformer room | ABB_Usa/2500-22/0.4 | [6 empty] | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
407 | Micro water filter | CO-WF01 | AC-CT | PB1 | PB1 Air-comp room | DD/PDP-850F (DD105F) |  |  |  | APF133891 | 2008-07-01 00:00:00 |  | 2021-07-29 10:34 |  | ./public/img_mac/noimg.png
408 | tên mới | cũ mới | loại mới | nhà máy | vị trí | model | trạng thái | hệ thống | mô tả mới | số | 2021-07-17 09:09:35 | kết thúc | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png
409 | tên mới 1 | cũ mới 1 | loại mới1 | nhà máy1 | vj trí 1 | model1 | trạng thái1 | hệ thống1 | môtar1 | 100 | 2020 | 3000 | 2021-07-29 10:29 |  | ./public/img_mac/noimg.png